## 00_说明
项目 | 内容
说明 | 由 codex数据汇总表.xlsx 自动转换，供现有模型 loader 读取
源文件 | E:\clean_engry_system\codex数据汇总表.xlsx
输出目录 | E:\clean_engry_system\new_source_results

## 01_数据来源总表
source_id | 类别 | 来源名称 | 来源类型 | 可用数据/用途 | url | 检索日期
S01 | 园区背景 | Surbana Jurong: Ordos' new net-zero industrial park | 官方/项目案例 | Ordos, Inner Mongolia; 73 km2; 100% zero-carbon energy supply; hydrogen and air-source heat-pump measures | https://www.sjgroup.com/projects/ordos/ | 2026-06-18
S02 | 园区负荷规模 | Frontiers in Energy Research: heavy equipment manufacturing industrial park IES | 论文 | 2 km2 industrial park, 50+ facilities, 200 MW capacity, 150 MW peak demand, 1.2 TWh electricity and 0.8 TWh thermal energy annually | https://www.frontiersin.org/journals/energy-research/articles/10.3389/fenrg.2024.1448362/full | 2026-06-18
S03 | 气象与风光资源 | NASA POWER Hourly API | 公开数据集 | Ordos point hourly ALLSKY_SFC_SW_DWN, WS50M, T2M, 2024, LST | https://power.larc.nasa.gov/api/temporal/hourly/point?parameters=ALLSKY_SFC_SW_DWN,WS50M,T2M&community=RE&longitude=109.78&latitude=39.61&start=20240101&end=20241231&format=JSON&time-standard=LST | 2026-06-18
S04 | 蒙西分时电价 | 锡林郭勒盟发改委: 内蒙古西部电网销售电价和输配电价公示表 | 政府 | 蒙西峰平谷时段、峰谷比价、尖峰/深谷规则、需量电价 | https://fgw.xlgl.gov.cn/fgw/ywgz/jgsf/jfgs/jggs/2023112710530866099/index.html | 2026-06-18
S05 | 管道天然气价格 | 鄂尔多斯市发改委非居民管道天然气价格通知 | 政府 | 2026-04-01 至 2026-10-31 非居民终端销售价格 2.952 元/m3 | https://www.ordos.gov.cn/ordosml/szbm/sfzhggwyh_n/202605/t20260528_3900116.html | 2026-06-18
S06 | 电网排放因子 | 生态环境部/国家统计局 2022年电力二氧化碳排放因子 | 政府 | 内蒙古省级电力平均二氧化碳排放因子 0.6849 kgCO2/kWh | https://www.mee.gov.cn/xxgk2018/xxgk/xxgk01/202412/t20241226_1099413.html | 2026-06-18
S07 | 碳价 | 生态环境部: 2025年全国碳市场运行情况 | 政府 | 2025 全年交易均价 62.36 元/tCO2，年底收盘价 74.63 元/tCO2 | https://www.mee.gov.cn/ywgz/ydqhbh/wsqtkz/202601/t20260101_1139528.shtml | 2026-06-18
S08 | 可再生能源成本 | IRENA Renewable Power Generation Costs in 2024 | 国际组织报告 | 2024 PV TIC 691 USD/kW, onshore wind TIC 1041 USD/kW, battery storage 192 USD/kWh | https://www.irena.org/-/media/Files/IRENA/Agency/Publication/2025/Jul/IRENA_TEC_RPGC_in_2024_Summary_2025.pdf | 2026-06-18
S09 | 储能成本 | CNESA Energy Storage Industry White Paper 2024 Summary | 行业报告 | 2023 年底 2h LFP 储能系统平均中标价 0.79 元/Wh，部分集采低于 0.6 元/Wh | https://en.cnesa.org/s/CNESA-Energy-Storage-Industry-WhitePaper-2024Summary-Version.pdf | 2026-06-18
S10 | 电解槽参数 | DOE Technical Targets for PEM Electrolysis | 政府/研发目标 | PEM 2022 status: system efficiency 55 kWh/kg H2, uninstalled capital cost 1000 USD/kW, lifetime 40,000 h | https://www.energy.gov/cmei/fuels/technical-targets-proton-exchange-membrane-electrolysis | 2026-06-18
S11 | 电解槽效率和成本范围 | IRENA Green Hydrogen Cost Reduction | 国际组织报告 | Alkaline system 50-78 kWh/kg H2 and 500-1000 USD/kW; PEM system 50-83 kWh/kg H2 and 700-1400 USD/kW | https://www.irena.org/-/media/Files/IRENA/Agency/Publication/2020/Dec/IRENA_Green_hydrogen_cost_2020.pdf | 2026-06-18
S12 | 中国氢价 | 国家能源局: 中国氢能发展报告(2025) | 政府/行业统计 | 2024年底生产侧 28.0 元/kg，消费侧 48.6 元/kg；内蒙古等为氢消费重点地区 | https://www.nea.gov.cn/20250430/96022785b3a747248288ad1c57d3a025/83d863317f2f44edb605348e4de40993.pdf | 2026-06-18
S13 | 热泵成本与COP | IRENA Heat Pump Costs and Markets | 国际组织报告 | Commercial air-air/air-water heat pump costs and COP values; e.g. 358-627 USD/kWth and COP around 3.9-4.2 in reported cases | https://www.irena.org/-/media/Files/IRENA/Agency/Publication/2022/Nov/IRENA_Heat_Pumps_Costs_Markets_2022.pdf | 2026-06-18
S14 | 热泵/锅炉效率 | IEA industrial heat pump chart notes | 国际组织数据 | Assumed efficiencies: coal boilers 84%, natural gas boilers 87%, electric boilers 98%, heat pumps 350% | https://www.iea.org/data-and-statistics/charts/energy-input-cost-ratio-of-industrial-heat-pumps-relative-to-current-market-benchmarks-in-selected-regions-2024-3 | 2026-06-18
S15 | 燃料电池成本 | DOE Heavy-Duty Fuel Cell System Cost 2023 | 政府/研发报告 | 275 kW PEM fuel cell system projected about 170 USD/kW at 50k units/year; 25,000 h durability target | https://www.hydrogen.energy.gov/docs/hydrogenprogramlibraries/pdfs/review24/24004-hd-fuel-cell-system-cost-2023.pdf | 2026-06-18
S16 | 储氢成本 | Hydrogen Storage and Transport: Technologies and Costs | 论文/报告 | Liquid hydrogen large tank cost 30-50 USD/kgH2; compressed gas storage references included for sensitivity | https://escholarship.org/content/qt83p5k54m/qt83p5k54m_noSplash_8bb1326c13cfb9aa3d0d376ec26d3e06.pdf | 2026-06-18
S17 | 天然气排放计算 | 国家发改委工业其他行业企业温室气体核算方法与报告指南 | 政府指南 | 天然气低位发热量、单位热值含碳量、碳氧化率用于推导约 2.16 kgCO2/m3 | https://www.ndrc.gov.cn/xxgk/zcfb/tz/201511/W020190905506438889540.pdf | 2026-06-18
S18 | 新能源消纳约束 | 国家能源局: 电力系统调节能力优化专项行动 | 政府 | 2025-2027 年全国新能源利用率不低于 90% | https://www.nea.gov.cn/20250117/7a37e1cc43e4477baa101671b7dc273f/c.html | 2026-06-18
S19 | 电力市场机制 | RMI 2024 China Power Market Outlook | 研究报告 | I&C price components, capacity pricing, ancillary services and energy-storage market participation context | https://rmi.org/app/uploads/dlm_uploads/2025/01/final-2024-China-Power-Market-Outlook-10-Key-Trends-for-Market-Players-2501117.pdf | 2026-06-18
S20 | 备用价值/停电损失 | LBNL outage cost literature review | 研究报告 | Industrial outage value examples include 7.61 USD/kWh in reviewed literature; use as sensitivity anchor | https://eta-publications.lbl.gov/sites/default/files/erss_manuscript_preprint_0.pdf | 2026-06-18

## 02_园区背景
项目 | 公开信息/采用方式
背景 | 鄂尔多斯零碳产业园公开案例
数据 | NASA POWER + 政府/报告/论文参数 + 公开案例校准重构

## 03_24h输入数据
hour | pv_cf | wind_cf | pv_available_kW | wind_available_kW | electric_load_kW | heat_load_kW | h2_load_kg | tou_period | electricity_price_yuan_per_kWh | gas_price_yuan_per_m3 | grid_emission_kgCO2_per_kWh | carbon_price_yuan_per_tCO2 | heat_pump_cop | heat_pump_available_ratio | 说明
0 | 0 | 0 | 0 | 0 | 125675.6 | 112000 | 923.94 | 谷 | 0.216 | 2.952 | 0.6849 | 62.36 | 2.4785 | 0.85 | 来自 codex数据汇总表.xlsx 的典型冬季日；负荷为公开案例校准重构，风光为 NASA POWER 推导
1 | 0 | 0 | 0 | 0 | 125675.6 | 112000 | 923.94 | 谷 | 0.216 | 2.952 | 0.6849 | 62.36 | 2.472 | 0.85 | 来自 codex数据汇总表.xlsx 的典型冬季日；负荷为公开案例校准重构，风光为 NASA POWER 推导
2 | 0 | 0 | 0 | 0 | 125675.6 | 112000 | 923.94 | 谷 | 0.216 | 2.952 | 0.6849 | 62.36 | 2.4615 | 0.85 | 来自 codex数据汇总表.xlsx 的典型冬季日；负荷为公开案例校准重构，风光为 NASA POWER 推导
3 | 0 | 0 | 0 | 0 | 125675.6 | 112000 | 923.94 | 谷 | 0.216 | 2.952 | 0.6849 | 62.36 | 2.4485 | 0.85 | 来自 codex数据汇总表.xlsx 的典型冬季日；负荷为公开案例校准重构，风光为 NASA POWER 推导
4 | 0 | 0 | 0 | 0 | 125675.6 | 112000 | 923.94 | 平 | 0.45 | 2.952 | 0.6849 | 62.36 | 2.4205 | 0.85 | 来自 codex数据汇总表.xlsx 的典型冬季日；负荷为公开案例校准重构，风光为 NASA POWER 推导
5 | 0 | 0.0027 | 0 | 324 | 135135 | 112000 | 923.94 | 平 | 0.45 | 2.952 | 0.6849 | 62.36 | 2.384 | 0.85 | 来自 codex数据汇总表.xlsx 的典型冬季日；负荷为公开案例校准重构，风光为 NASA POWER 推导
6 | 0 | 0.0059 | 0 | 708 | 135135 | 112000 | 923.94 | 峰 | 0.756 | 2.952 | 0.6849 | 62.36 | 2.3715 | 0.85 | 来自 codex数据汇总表.xlsx 的典型冬季日；负荷为公开案例校准重构，风光为 NASA POWER 推导
7 | 0.0345 | 0.002 | 3450 | 240 | 135135 | 112000 | 1078.94 | 峰 | 0.756 | 2.952 | 0.6849 | 62.36 | 2.418 | 0.85 | 来自 codex数据汇总表.xlsx 的典型冬季日；负荷为公开案例校准重构，风光为 NASA POWER 推导
8 | 0.1486 | 0 | 14860 | 0 | 144594.5 | 112000 | 1078.94 | 平 | 0.45 | 2.952 | 0.6849 | 62.36 | 2.5795 | 1 | 来自 codex数据汇总表.xlsx 的典型冬季日；负荷为公开案例校准重构，风光为 NASA POWER 推导
9 | 0.2405 | 0 | 24050 | 0 | 144594.5 | 109728 | 1078.94 | 平 | 0.45 | 2.952 | 0.6849 | 62.36 | 2.694 | 1 | 来自 codex数据汇总表.xlsx 的典型冬季日；负荷为公开案例校准重构，风光为 NASA POWER 推导
10 | 0.2983 | 0 | 29830 | 0 | 144594.5 | 104389 | 1078.94 | 平 | 0.45 | 2.952 | 0.6849 | 62.36 | 2.8414 | 1 | 来自 codex数据汇总表.xlsx 的典型冬季日；负荷为公开案例校准重构，风光为 NASA POWER 推导
11 | 0.2928 | 0.0237 | 29280 | 2844 | 144594.5 | 98499 | 1078.94 | 谷 | 0.216 | 2.952 | 0.6849 | 62.36 | 3.0274 | 1 | 来自 codex数据汇总表.xlsx 的典型冬季日；负荷为公开案例校准重构，风光为 NASA POWER 推导
12 | 0.3203 | 0.0309 | 32030 | 3708 | 144594.5 | 96010 | 1078.94 | 谷 | 0.216 | 2.952 | 0.6849 | 62.36 | 3.106 | 1 | 来自 codex数据汇总表.xlsx 的典型冬季日；负荷为公开案例校准重构，风光为 NASA POWER 推导
13 | 0.263 | 0.0341 | 26300 | 4092 | 144594.5 | 94984 | 1078.94 | 谷 | 0.216 | 2.952 | 0.6849 | 62.36 | 3.1384 | 1 | 来自 codex数据汇总表.xlsx 的典型冬季日；负荷为公开案例校准重构，风光为 NASA POWER 推导
14 | 0.1775 | 0.0448 | 17750 | 5376 | 144594.5 | 95307 | 1078.94 | 谷 | 0.216 | 2.952 | 0.6849 | 62.36 | 3.1282 | 1 | 来自 codex数据汇总表.xlsx 的典型冬季日；负荷为公开案例校准重构，风光为 NASA POWER 推导
15 | 0.0856 | 0.0653 | 8560 | 7836 | 144594.5 | 98670 | 1078.94 | 谷 | 0.216 | 2.952 | 0.6849 | 62.36 | 3.022 | 1 | 来自 codex数据汇总表.xlsx 的典型冬季日；负荷为公开案例校准重构，风光为 NASA POWER 推导
16 | 0.0088 | 0.095 | 880 | 11400 | 144594.5 | 105149 | 1078.94 | 平 | 0.45 | 2.952 | 0.6849 | 62.36 | 2.8174 | 1 | 来自 codex数据汇总表.xlsx 的典型冬季日；负荷为公开案例校准重构，风光为 NASA POWER 推导
17 | 0 | 0.1098 | 0 | 13176 | 144594.5 | 106954 | 1078.94 | 平 | 0.45 | 2.952 | 0.6849 | 62.36 | 2.767 | 1 | 来自 codex数据汇总表.xlsx 的典型冬季日；负荷为公开案例校准重构，风光为 NASA POWER 推导
18 | 0 | 0.0939 | 0 | 11268 | 139189 | 108170 | 1078.94 | 峰 | 0.756 | 2.952 | 0.6849 | 62.36 | 2.735 | 1 | 来自 codex数据汇总表.xlsx 的典型冬季日；负荷为公开案例校准重构，风光为 NASA POWER 推导
19 | 0 | 0.0729 | 0 | 8748 | 139189 | 108968 | 1078.94 | 峰 | 0.756 | 2.952 | 0.6849 | 62.36 | 2.714 | 1 | 来自 codex数据汇总表.xlsx 的典型冬季日；负荷为公开案例校准重构，风光为 NASA POWER 推导
20 | 0 | 0.0662 | 0 | 7944 | 139189 | 109633 | 923.94 | 峰 | 0.756 | 2.952 | 0.6849 | 62.36 | 2.6965 | 1 | 来自 codex数据汇总表.xlsx 的典型冬季日；负荷为公开案例校准重构，风光为 NASA POWER 推导
21 | 0 | 0.0753 | 0 | 9036 | 139189 | 110393 | 923.94 | 峰 | 0.756 | 2.952 | 0.6849 | 62.36 | 2.6765 | 1 | 来自 codex数据汇总表.xlsx 的典型冬季日；负荷为公开案例校准重构，风光为 NASA POWER 推导
22 | 0 | 0.0967 | 0 | 11604 | 139189 | 110944 | 923.94 | 平 | 0.45 | 2.952 | 0.6849 | 62.36 | 2.662 | 1 | 来自 codex数据汇总表.xlsx 的典型冬季日；负荷为公开案例校准重构，风光为 NASA POWER 推导
23 | 0 | 0.118 | 0 | 14160 | 135135 | 111514 | 923.94 | 平 | 0.45 | 2.952 | 0.6849 | 62.36 | 2.647 | 1 | 来自 codex数据汇总表.xlsx 的典型冬季日；负荷为公开案例校准重构，风光为 NASA POWER 推导

## 04_设备技术经济参数
类别 | 参数 | 符号/字段 | 单位 | 基准值 | 敏感性范围 | 来源属性 | 来源URL | 用途/备注
规模 | 风电装机 | wind_capacity_kW | kW | 120000 |  | codex新数据表 | https://power.larc.nasa.gov/api/temporal/hourly/point?parameters=ALLSKY_SFC_SW_DWN,WS50M,T2M&community=RE&longitude=109.78&latitude=39.61&start=20240101&end=20241231&format=JSON&time-standard=LST | 按新数据源风资源和园区尺度设定
规模 | 光伏装机 | pv_capacity_kW | kW | 100000 |  | codex新数据表 | https://power.larc.nasa.gov/api/temporal/hourly/point?parameters=ALLSKY_SFC_SW_DWN,WS50M,T2M&community=RE&longitude=109.78&latitude=39.61&start=20240101&end=20241231&format=JSON&time-standard=LST | 按新数据源光伏资源和园区尺度设定
电储能 | 额定功率 | battery_power_kW | kW | 50000 |  | codex新数据表 | https://en.cnesa.org/s/CNESA-Energy-Storage-Industry-WhitePaper-2024Summary-Version.pdf | 园区级储能功率假设
电储能 | 额定容量 | battery_energy_kWh | kWh | 200000 |  | codex新数据表 | https://en.cnesa.org/s/CNESA-Energy-Storage-Industry-WhitePaper-2024Summary-Version.pdf; https://www.irena.org/-/media/Files/IRENA/Agency/Publication/2025/Jul/IRENA_TEC_RPGC_in_2024_Summary_2025.pdf | 4h 储能时长假设
电储能 | 充电效率 | battery_eta_ch | - | 0.95 |  | codex新数据表 | https://en.cnesa.org/s/CNESA-Energy-Storage-Industry-WhitePaper-2024Summary-Version.pdf | 新参数表推荐值
电储能 | 放电效率 | battery_eta_dis | - | 0.95 |  | codex新数据表 | https://en.cnesa.org/s/CNESA-Energy-Storage-Industry-WhitePaper-2024Summary-Version.pdf | 新参数表推荐值
电储能 | 初始SOC | battery_initial_soc | kWh | 100000 |  | codex新数据表 | https://en.cnesa.org/s/CNESA-Energy-Storage-Industry-WhitePaper-2024Summary-Version.pdf; https://www.irena.org/-/media/Files/IRENA/Agency/Publication/2025/Jul/IRENA_TEC_RPGC_in_2024_Summary_2025.pdf | 按 50% SOC 初始化
氢能 | 电解槽额定功率 | electrolyzer_power_kW | kW | 60000 |  | codex新数据表 | https://www.energy.gov/cmei/fuels/technical-targets-proton-exchange-membrane-electrolysis; https://www.irena.org/-/media/Files/IRENA/Agency/Publication/2020/Dec/IRENA_Green_hydrogen_cost_2020.pdf | 按约 1000 kg/h 供氢能力设定
氢能 | 电解槽耗电量 | electrolyzer_kWh_per_kgH2 | kWh/kgH2 | 55 |  | codex新数据表 | https://www.energy.gov/cmei/fuels/technical-targets-proton-exchange-membrane-electrolysis; https://www.irena.org/-/media/Files/IRENA/Agency/Publication/2020/Dec/IRENA_Green_hydrogen_cost_2020.pdf | 新参数表推荐值
氢能 | 电解槽最小负荷率 | electrolyzer_min_load_rate | - | 0.15 |  | codex新数据表 | https://www.energy.gov/cmei/fuels/technical-targets-proton-exchange-membrane-electrolysis; https://www.irena.org/-/media/Files/IRENA/Agency/Publication/2020/Dec/IRENA_Green_hydrogen_cost_2020.pdf | P1 运行约束：低于最小负荷视为停机
氢能 | 电解槽分段1下限 | electrolyzer_segment_1_min_rate | - | 0.15 |  | codex新数据表 | https://www.energy.gov/cmei/fuels/technical-targets-proton-exchange-membrane-electrolysis; https://www.irena.org/-/media/Files/IRENA/Agency/Publication/2020/Dec/IRENA_Green_hydrogen_cost_2020.pdf | P0 分段性能曲线
氢能 | 电解槽分段1上限 | electrolyzer_segment_1_max_rate | - | 0.3 |  | codex新数据表 | https://www.energy.gov/cmei/fuels/technical-targets-proton-exchange-membrane-electrolysis; https://www.irena.org/-/media/Files/IRENA/Agency/Publication/2020/Dec/IRENA_Green_hydrogen_cost_2020.pdf | P0 分段性能曲线
氢能 | 电解槽分段1耗电 | electrolyzer_segment_1_kwh_per_kg | kWh/kgH2 | 60 |  | codex新数据表 | https://www.energy.gov/cmei/fuels/technical-targets-proton-exchange-membrane-electrolysis; https://www.irena.org/-/media/Files/IRENA/Agency/Publication/2020/Dec/IRENA_Green_hydrogen_cost_2020.pdf | 低负荷效率较低
氢能 | 电解槽分段2下限 | electrolyzer_segment_2_min_rate | - | 0.3 |  | codex新数据表 | https://www.energy.gov/cmei/fuels/technical-targets-proton-exchange-membrane-electrolysis; https://www.irena.org/-/media/Files/IRENA/Agency/Publication/2020/Dec/IRENA_Green_hydrogen_cost_2020.pdf | P0 分段性能曲线
氢能 | 电解槽分段2上限 | electrolyzer_segment_2_max_rate | - | 0.6 |  | codex新数据表 | https://www.energy.gov/cmei/fuels/technical-targets-proton-exchange-membrane-electrolysis; https://www.irena.org/-/media/Files/IRENA/Agency/Publication/2020/Dec/IRENA_Green_hydrogen_cost_2020.pdf | P0 分段性能曲线
氢能 | 电解槽分段2耗电 | electrolyzer_segment_2_kwh_per_kg | kWh/kgH2 | 55 |  | codex新数据表 | https://www.energy.gov/cmei/fuels/technical-targets-proton-exchange-membrane-electrolysis; https://www.irena.org/-/media/Files/IRENA/Agency/Publication/2020/Dec/IRENA_Green_hydrogen_cost_2020.pdf | 中低负荷接近额定推荐值
氢能 | 电解槽分段3下限 | electrolyzer_segment_3_min_rate | - | 0.6 |  | codex新数据表 | https://www.energy.gov/cmei/fuels/technical-targets-proton-exchange-membrane-electrolysis; https://www.irena.org/-/media/Files/IRENA/Agency/Publication/2020/Dec/IRENA_Green_hydrogen_cost_2020.pdf | P0 分段性能曲线
氢能 | 电解槽分段3上限 | electrolyzer_segment_3_max_rate | - | 0.9 |  | codex新数据表 | https://www.energy.gov/cmei/fuels/technical-targets-proton-exchange-membrane-electrolysis; https://www.irena.org/-/media/Files/IRENA/Agency/Publication/2020/Dec/IRENA_Green_hydrogen_cost_2020.pdf | P0 分段性能曲线
氢能 | 电解槽分段3耗电 | electrolyzer_segment_3_kwh_per_kg | kWh/kgH2 | 51 |  | codex新数据表 | https://www.energy.gov/cmei/fuels/technical-targets-proton-exchange-membrane-electrolysis; https://www.irena.org/-/media/Files/IRENA/Agency/Publication/2020/Dec/IRENA_Green_hydrogen_cost_2020.pdf | 高效运行区
氢能 | 电解槽分段4下限 | electrolyzer_segment_4_min_rate | - | 0.9 |  | codex新数据表 | https://www.energy.gov/cmei/fuels/technical-targets-proton-exchange-membrane-electrolysis; https://www.irena.org/-/media/Files/IRENA/Agency/Publication/2020/Dec/IRENA_Green_hydrogen_cost_2020.pdf | P0 分段性能曲线
氢能 | 电解槽分段4上限 | electrolyzer_segment_4_max_rate | - | 1 |  | codex新数据表 | https://www.energy.gov/cmei/fuels/technical-targets-proton-exchange-membrane-electrolysis; https://www.irena.org/-/media/Files/IRENA/Agency/Publication/2020/Dec/IRENA_Green_hydrogen_cost_2020.pdf | P0 分段性能曲线
氢能 | 电解槽分段4耗电 | electrolyzer_segment_4_kwh_per_kg | kWh/kgH2 | 54 |  | codex新数据表 | https://www.energy.gov/cmei/fuels/technical-targets-proton-exchange-membrane-electrolysis; https://www.irena.org/-/media/Files/IRENA/Agency/Publication/2020/Dec/IRENA_Green_hydrogen_cost_2020.pdf | 接近满负荷效率回落
氢能 | 储氢容量 | h2_storage_capacity_kg | kg | 10000 |  | codex新数据表 | https://escholarship.org/content/qt83p5k54m/qt83p5k54m_noSplash_8bb1326c13cfb9aa3d0d376ec26d3e06.pdf | 园区级日内储氢假设
氢能 | 初始储氢量 | h2_storage_initial_kg | kg | 5000 |  | codex新数据表 | https://escholarship.org/content/qt83p5k54m/qt83p5k54m_noSplash_8bb1326c13cfb9aa3d0d376ec26d3e06.pdf | 按 50% 储量初始化
氢能 | 储氢逐时损耗率 | h2_storage_loss_rate_per_hour | - | 4.1667e-05 |  | codex新数据表 | https://escholarship.org/content/qt83p5k54m/qt83p5k54m_noSplash_8bb1326c13cfb9aa3d0d376ec26d3e06.pdf | P1 储氢罐日损耗折算为逐时损耗
氢能 | 燃料电池额定功率 | fuel_cell_power_kW | kW | 10000 |  | codex新数据表 | https://www.hydrogen.energy.gov/docs/hydrogenprogramlibraries/pdfs/review24/24004-hd-fuel-cell-system-cost-2023.pdf | 备用与调峰能力假设
氢能 | 燃料电池电效率 | fuel_cell_kWh_per_kgH2 | kWh/kgH2 | 18.5 |  | codex新数据表 | https://www.hydrogen.energy.gov/docs/hydrogenprogramlibraries/pdfs/review24/24004-hd-fuel-cell-system-cost-2023.pdf | 新参数表推荐值
氢能 | 燃料电池最小负荷率 | fuel_cell_min_load_rate | - | 0.1 |  | codex新数据表 | https://www.hydrogen.energy.gov/docs/hydrogenprogramlibraries/pdfs/review24/24004-hd-fuel-cell-system-cost-2023.pdf | P1 运行约束：低于最小负荷视为停机
氢能 | 燃料电池分段1下限 | fuel_cell_segment_1_min_rate | - | 0.1 |  | codex新数据表 | https://www.hydrogen.energy.gov/docs/hydrogenprogramlibraries/pdfs/review24/24004-hd-fuel-cell-system-cost-2023.pdf | P0 分段性能曲线
氢能 | 燃料电池分段1上限 | fuel_cell_segment_1_max_rate | - | 0.3 |  | codex新数据表 | https://www.hydrogen.energy.gov/docs/hydrogenprogramlibraries/pdfs/review24/24004-hd-fuel-cell-system-cost-2023.pdf | P0 分段性能曲线
氢能 | 燃料电池分段1发电量 | fuel_cell_segment_1_kwh_per_kg | kWh/kgH2 | 16 |  | codex新数据表 | https://www.hydrogen.energy.gov/docs/hydrogenprogramlibraries/pdfs/review24/24004-hd-fuel-cell-system-cost-2023.pdf | 低负荷效率较低
氢能 | 燃料电池分段2下限 | fuel_cell_segment_2_min_rate | - | 0.3 |  | codex新数据表 | https://www.hydrogen.energy.gov/docs/hydrogenprogramlibraries/pdfs/review24/24004-hd-fuel-cell-system-cost-2023.pdf | P0 分段性能曲线
氢能 | 燃料电池分段2上限 | fuel_cell_segment_2_max_rate | - | 0.6 |  | codex新数据表 | https://www.hydrogen.energy.gov/docs/hydrogenprogramlibraries/pdfs/review24/24004-hd-fuel-cell-system-cost-2023.pdf | P0 分段性能曲线
氢能 | 燃料电池分段2发电量 | fuel_cell_segment_2_kwh_per_kg | kWh/kgH2 | 18.5 |  | codex新数据表 | https://www.hydrogen.energy.gov/docs/hydrogenprogramlibraries/pdfs/review24/24004-hd-fuel-cell-system-cost-2023.pdf | 额定附近推荐值
氢能 | 燃料电池分段3下限 | fuel_cell_segment_3_min_rate | - | 0.6 |  | codex新数据表 | https://www.hydrogen.energy.gov/docs/hydrogenprogramlibraries/pdfs/review24/24004-hd-fuel-cell-system-cost-2023.pdf | P0 分段性能曲线
氢能 | 燃料电池分段3上限 | fuel_cell_segment_3_max_rate | - | 0.9 |  | codex新数据表 | https://www.hydrogen.energy.gov/docs/hydrogenprogramlibraries/pdfs/review24/24004-hd-fuel-cell-system-cost-2023.pdf | P0 分段性能曲线
氢能 | 燃料电池分段3发电量 | fuel_cell_segment_3_kwh_per_kg | kWh/kgH2 | 19.5 |  | codex新数据表 | https://www.hydrogen.energy.gov/docs/hydrogenprogramlibraries/pdfs/review24/24004-hd-fuel-cell-system-cost-2023.pdf | 高效运行区
氢能 | 燃料电池分段4下限 | fuel_cell_segment_4_min_rate | - | 0.9 |  | codex新数据表 | https://www.hydrogen.energy.gov/docs/hydrogenprogramlibraries/pdfs/review24/24004-hd-fuel-cell-system-cost-2023.pdf | P0 分段性能曲线
氢能 | 燃料电池分段4上限 | fuel_cell_segment_4_max_rate | - | 1 |  | codex新数据表 | https://www.hydrogen.energy.gov/docs/hydrogenprogramlibraries/pdfs/review24/24004-hd-fuel-cell-system-cost-2023.pdf | P0 分段性能曲线
氢能 | 燃料电池分段4发电量 | fuel_cell_segment_4_kwh_per_kg | kWh/kgH2 | 18.5 |  | codex新数据表 | https://www.hydrogen.energy.gov/docs/hydrogenprogramlibraries/pdfs/review24/24004-hd-fuel-cell-system-cost-2023.pdf | 满负荷效率回落
热力 | 热泵额定电功率 | heat_pump_power_kW | kW | 50000 |  | codex新数据表 | https://www.irena.org/-/media/Files/IRENA/Agency/Publication/2022/Nov/IRENA_Heat_Pumps_Costs_Markets_2022.pdf | 按 COP 供热能力匹配园区热负荷
热力 | 热泵COP | heat_pump_COP | - | 3.5 |  | codex新数据表 | https://www.irena.org/-/media/Files/IRENA/Agency/Publication/2022/Nov/IRENA_Heat_Pumps_Costs_Markets_2022.pdf; https://www.iea.org/data-and-statistics/charts/energy-input-cost-ratio-of-industrial-heat-pumps-relative-to-current-market-benchmarks-in-selected-regions-2024-3 | 新参数表推荐值
热力 | 燃气锅炉最大供热 | gas_boiler_heat_kW | kWth | 130000 |  | codex新数据表 | https://www.iea.org/data-and-statistics/charts/energy-input-cost-ratio-of-industrial-heat-pumps-relative-to-current-market-benchmarks-in-selected-regions-2024-3 | 覆盖新典型日峰值热负荷
热力 | 燃气锅炉效率 | gas_boiler_eff | - | 0.87 |  | codex新数据表 | https://www.iea.org/data-and-statistics/charts/energy-input-cost-ratio-of-industrial-heat-pumps-relative-to-current-market-benchmarks-in-selected-regions-2024-3 | 新参数表推荐值
热力 | 天然气低位热值 | gas_lhv_kwh_per_m3 | kWh/m3 | 10.814 |  | codex新数据表 | https://www.ndrc.gov.cn/xxgk/zcfb/tz/201511/W020190905506438889540.pdf | 新参数表推荐值
能源价格 | 平段电价 | flat_electricity_price | 元/kWh | 0.45 |  | codex新数据表 | https://fgw.xlgl.gov.cn/fgw/ywgz/jgsf/jfgs/jggs/2023112710530866099/index.html; https://rmi.org/app/uploads/dlm_uploads/2025/01/final-2024-China-Power-Market-Outlook-10-Key-Trends-for-Market-Players-2501117.pdf | 分时电价的平段建模基准
能源价格 | 天然气价格 | gas_price | 元/m3 | 2.952 |  | codex新数据表 | https://www.ordos.gov.cn/ordosml/szbm/sfzhggwyh_n/202605/t20260528_3900116.html | 鄂尔多斯非居民管道气价
能源价格 | 售氢价格 | h2_sale_price | 元/kg | 45.7 |  | codex新数据表 | https://www.nea.gov.cn/20250430/96022785b3a747248288ad1c57d3a025/83d863317f2f44edb605348e4de40993.pdf | 中国氢能报告消费侧价格参考
能源价格 | 外购氢价格 | h2_external_supply_cost | 元/kg | 48.6 |  | codex新数据表 | https://www.nea.gov.cn/20250430/96022785b3a747248288ad1c57d3a025/83d863317f2f44edb605348e4de40993.pdf | 供氢不足兜底成本
能源价格 | 售氢启用 | h2_sale_enabled | - | 0 |  | codex新数据表 | https://www.nea.gov.cn/20250430/96022785b3a747248288ad1c57d3a025/83d863317f2f44edb605348e4de40993.pdf | 默认关闭，v1.4 售氢场景会打开
能源价格 | 余电上网价格 | grid_sell_price_cny_per_kwh | 元/kWh | 0.2829 |  | codex新数据表 | https://rmi.org/app/uploads/dlm_uploads/2025/01/final-2024-China-Power-Market-Outlook-10-Key-Trends-for-Market-Players-2501117.pdf | 用于容量规划余电出售收益
碳价 | 碳价 | carbon_price | 元/tCO2 | 62.36 |  | codex新数据表 | https://www.mee.gov.cn/ywgz/ydqhbh/wsqtkz/202601/t20260101_1139528.shtml | 全国碳市场均价
碳排放 | 购电排放因子 | grid_emission_factor | kgCO2/kWh | 0.6849 |  | codex新数据表 | https://www.mee.gov.cn/xxgk2018/xxgk/xxgk01/202412/t20241226_1099413.html | 内蒙古省级电力排放因子
碳排放 | 天然气排放因子 | gas_emission_factor | kgCO2/m3 | 2.16 |  | codex新数据表 | https://www.ndrc.gov.cn/xxgk/zcfb/tz/201511/W020190905506438889540.pdf | 按国家核算指南推导
碳排放 | 碳排放上限 | carbon_emission_cap_kg | kgCO2 | 958904.1096 |  | codex新数据表 | https://www.sjgroup.com/projects/ordos/; https://www.mee.gov.cn/xxgk2018/xxgk/xxgk01/202412/t20241226_1099413.html | 日调度模型使用日上限
碳排放 | 碳超额惩罚 | carbon_cap_excess_penalty | 元/kgCO2 | 0 |  | codex新数据表 | https://www.sjgroup.com/projects/ordos/; https://www.mee.gov.cn/xxgk2018/xxgk/xxgk01/202412/t20241226_1099413.html | 本轮关闭超额惩罚，仅记录超额量
惩罚成本 | 弃风弃光惩罚 | curtail_penalty | 元/kWh | 0.1 |  | codex新数据表 |  | 机会成本场景假设
运维成本 | 电池运维 | battery_om | 元/kWh throughput | 0 |  | codex新数据表 | https://en.cnesa.org/s/CNESA-Energy-Storage-Industry-WhitePaper-2024Summary-Version.pdf | 退化成本已拆入分段退化曲线，避免重复计入
运维成本 | 电池退化分段1宽度 | battery_degradation_segment_1_width_rate | - | 0.2 |  | codex新数据表 | https://en.cnesa.org/s/CNESA-Energy-Storage-Industry-WhitePaper-2024Summary-Version.pdf | P0 分段退化成本：浅循环低成本区
运维成本 | 电池退化分段1成本 | battery_degradation_segment_1_cost_cny_per_kwh | 元/kWh throughput | 0.05 |  | codex新数据表 | https://en.cnesa.org/s/CNESA-Energy-Storage-Industry-WhitePaper-2024Summary-Version.pdf | 浅循环退化折算成本
运维成本 | 电池退化分段2宽度 | battery_degradation_segment_2_width_rate | - | 0.3 |  | codex新数据表 | https://en.cnesa.org/s/CNESA-Energy-Storage-Industry-WhitePaper-2024Summary-Version.pdf | P0 分段退化成本：常规循环区
运维成本 | 电池退化分段2成本 | battery_degradation_segment_2_cost_cny_per_kwh | 元/kWh throughput | 0.1 |  | codex新数据表 | https://en.cnesa.org/s/CNESA-Energy-Storage-Industry-WhitePaper-2024Summary-Version.pdf | 常规循环退化折算成本
运维成本 | 电池退化分段3宽度 | battery_degradation_segment_3_width_rate | - | 0.5 |  | codex新数据表 | https://en.cnesa.org/s/CNESA-Energy-Storage-Industry-WhitePaper-2024Summary-Version.pdf | P0 分段退化成本：深循环高成本区
运维成本 | 电池退化分段3成本 | battery_degradation_segment_3_cost_cny_per_kwh | 元/kWh throughput | 0.18 |  | codex新数据表 | https://en.cnesa.org/s/CNESA-Energy-Storage-Industry-WhitePaper-2024Summary-Version.pdf | 深循环退化折算成本
运维成本 | 电解槽运维 | electrolyzer_om | 元/kgH2 | 1 |  | codex新数据表 | https://www.energy.gov/cmei/fuels/technical-targets-proton-exchange-membrane-electrolysis; https://www.irena.org/-/media/Files/IRENA/Agency/Publication/2020/Dec/IRENA_Green_hydrogen_cost_2020.pdf | 新参数表推荐值
运维成本 | 燃料电池运维 | fuel_cell_om | 元/kWh | 0.08 |  | codex新数据表 | https://www.hydrogen.energy.gov/docs/hydrogenprogramlibraries/pdfs/review24/24004-hd-fuel-cell-system-cost-2023.pdf | 新参数表推荐值
惩罚成本 | 新能源最低消纳率 | renewable_min_consumption_rate | - | 0.9 |  | codex新数据表 | https://www.nea.gov.cn/20250117/7a37e1cc43e4477baa101671b7dc273f/c.html | 政策约束场景使用
政策约束 | 容量规划最低绿电比例 | green_power_min_share | - | 0.5 |  | codex新数据表 | https://www.nea.gov.cn/20250318/0c73110958864a75bd1a823c7861c40c/c.html; https://www.ndrc.gov.cn/xxgk/zcfb/tz/202507/t20250708_1399055.html | 按零碳园区高比例绿电消费和绿电直供政策口径，本轮采用 50% 作为容量规划硬约束

## 05_场景设置
场景编号 | 场景名称 | 启用技术/机制 | 关键设置 | 主要观察指标 | 作用
S0 | 传统供能 | 外部电网 + 燃气锅炉 | wind=pv=battery=electrolyzer=storage=fuelcell=0 | 总成本、购电量、气耗、碳排放 | 基准场景
S1 | 加入风光 | 电网 + 燃气锅炉 + 风电 + 光伏 | use_renewables=True | 新能源消纳、弃风弃光、购电减少 | 评估风光直接替代
S2 | 风光 + 电池 | S1 + 电池储能 | use_battery=True | 储能充放电、峰谷套利、弃电变化 | 评估电储能价值
S3 | 风光储 + 制氢储氢 | S2 + 电解槽 + 储氢 + 氢负荷 | use_hydrogen=True | 制氢量、储氢、外购氢 | 评估氢能消纳
S4 | 电热氢储完整系统 | S3 + 热泵 + 燃料电池 | use_heat_pump=True; use_fuel_cell=True | 电热氢耦合、备用发电 | 完整系统调度
S5 | 完整系统 + 碳价 | S4 + 碳成本 | use_carbon_price=True | 碳排放、碳成本、低碳调度 | 低碳经济性对比

## 06_来源URL
编号 | 来源名称 | URL | 用于哪些数据
S01 | Surbana Jurong: Ordos' new net-zero industrial park | https://www.sjgroup.com/projects/ordos/ | Ordos, Inner Mongolia; 73 km2; 100% zero-carbon energy supply; hydrogen and air-source heat-pump measures
S02 | Frontiers in Energy Research: heavy equipment manufacturing industrial park IES | https://www.frontiersin.org/journals/energy-research/articles/10.3389/fenrg.2024.1448362/full | 2 km2 industrial park, 50+ facilities, 200 MW capacity, 150 MW peak demand, 1.2 TWh electricity and 0.8 TWh thermal energy annually
S03 | NASA POWER Hourly API | https://power.larc.nasa.gov/api/temporal/hourly/point?parameters=ALLSKY_SFC_SW_DWN,WS50M,T2M&community=RE&longitude=109.78&latitude=39.61&start=20240101&end=20241231&format=JSON&time-standard=LST | Ordos point hourly ALLSKY_SFC_SW_DWN, WS50M, T2M, 2024, LST
S04 | 锡林郭勒盟发改委: 内蒙古西部电网销售电价和输配电价公示表 | https://fgw.xlgl.gov.cn/fgw/ywgz/jgsf/jfgs/jggs/2023112710530866099/index.html | 蒙西峰平谷时段、峰谷比价、尖峰/深谷规则、需量电价
S05 | 鄂尔多斯市发改委非居民管道天然气价格通知 | https://www.ordos.gov.cn/ordosml/szbm/sfzhggwyh_n/202605/t20260528_3900116.html | 2026-04-01 至 2026-10-31 非居民终端销售价格 2.952 元/m3
S06 | 生态环境部/国家统计局 2022年电力二氧化碳排放因子 | https://www.mee.gov.cn/xxgk2018/xxgk/xxgk01/202412/t20241226_1099413.html | 内蒙古省级电力平均二氧化碳排放因子 0.6849 kgCO2/kWh
S07 | 生态环境部: 2025年全国碳市场运行情况 | https://www.mee.gov.cn/ywgz/ydqhbh/wsqtkz/202601/t20260101_1139528.shtml | 2025 全年交易均价 62.36 元/tCO2，年底收盘价 74.63 元/tCO2
S08 | IRENA Renewable Power Generation Costs in 2024 | https://www.irena.org/-/media/Files/IRENA/Agency/Publication/2025/Jul/IRENA_TEC_RPGC_in_2024_Summary_2025.pdf | 2024 PV TIC 691 USD/kW, onshore wind TIC 1041 USD/kW, battery storage 192 USD/kWh
S09 | CNESA Energy Storage Industry White Paper 2024 Summary | https://en.cnesa.org/s/CNESA-Energy-Storage-Industry-WhitePaper-2024Summary-Version.pdf | 2023 年底 2h LFP 储能系统平均中标价 0.79 元/Wh，部分集采低于 0.6 元/Wh
S10 | DOE Technical Targets for PEM Electrolysis | https://www.energy.gov/cmei/fuels/technical-targets-proton-exchange-membrane-electrolysis | PEM 2022 status: system efficiency 55 kWh/kg H2, uninstalled capital cost 1000 USD/kW, lifetime 40,000 h
S11 | IRENA Green Hydrogen Cost Reduction | https://www.irena.org/-/media/Files/IRENA/Agency/Publication/2020/Dec/IRENA_Green_hydrogen_cost_2020.pdf | Alkaline system 50-78 kWh/kg H2 and 500-1000 USD/kW; PEM system 50-83 kWh/kg H2 and 700-1400 USD/kW
S12 | 国家能源局: 中国氢能发展报告(2025) | https://www.nea.gov.cn/20250430/96022785b3a747248288ad1c57d3a025/83d863317f2f44edb605348e4de40993.pdf | 2024年底生产侧 28.0 元/kg，消费侧 48.6 元/kg；内蒙古等为氢消费重点地区
S13 | IRENA Heat Pump Costs and Markets | https://www.irena.org/-/media/Files/IRENA/Agency/Publication/2022/Nov/IRENA_Heat_Pumps_Costs_Markets_2022.pdf | Commercial air-air/air-water heat pump costs and COP values; e.g. 358-627 USD/kWth and COP around 3.9-4.2 in reported cases
S14 | IEA industrial heat pump chart notes | https://www.iea.org/data-and-statistics/charts/energy-input-cost-ratio-of-industrial-heat-pumps-relative-to-current-market-benchmarks-in-selected-regions-2024-3 | Assumed efficiencies: coal boilers 84%, natural gas boilers 87%, electric boilers 98%, heat pumps 350%
S15 | DOE Heavy-Duty Fuel Cell System Cost 2023 | https://www.hydrogen.energy.gov/docs/hydrogenprogramlibraries/pdfs/review24/24004-hd-fuel-cell-system-cost-2023.pdf | 275 kW PEM fuel cell system projected about 170 USD/kW at 50k units/year; 25,000 h durability target
S16 | Hydrogen Storage and Transport: Technologies and Costs | https://escholarship.org/content/qt83p5k54m/qt83p5k54m_noSplash_8bb1326c13cfb9aa3d0d376ec26d3e06.pdf | Liquid hydrogen large tank cost 30-50 USD/kgH2; compressed gas storage references included for sensitivity
S17 | 国家发改委工业其他行业企业温室气体核算方法与报告指南 | https://www.ndrc.gov.cn/xxgk/zcfb/tz/201511/W020190905506438889540.pdf | 天然气低位发热量、单位热值含碳量、碳氧化率用于推导约 2.16 kgCO2/m3
S18 | 国家能源局: 电力系统调节能力优化专项行动 | https://www.nea.gov.cn/20250117/7a37e1cc43e4477baa101671b7dc273f/c.html | 2025-2027 年全国新能源利用率不低于 90%
S19 | RMI 2024 China Power Market Outlook | https://rmi.org/app/uploads/dlm_uploads/2025/01/final-2024-China-Power-Market-Outlook-10-Key-Trends-for-Market-Players-2501117.pdf | I&C price components, capacity pricing, ancillary services and energy-storage market participation context
S20 | LBNL outage cost literature review | https://eta-publications.lbl.gov/sites/default/files/erss_manuscript_preprint_0.pdf | Industrial outage value examples include 7.61 USD/kWh in reviewed literature; use as sensitivity anchor

## 07_Codex使用说明
项目 | 公式/方法 | 说明 | 来源ID
光伏容量因子 | pv_cf = min(0.95, GHI_Wh_m2/1000 * 0.82 * temp_factor) | PR=0.82；组件温度 Tmodule=T2M+20*(GHI/800)；高于25C按 -0.4%/C 修正 | S03
风电容量因子 | cut-in 3m/s, rated 12m/s, cut-out 25m/s; between cut-in and rated uses cubic curve | 用50m风速直接推导，未做轮毂高度和空气密度修正 | S03
电负荷重构 | 150MW峰值约束，高基荷三班制曲线 | 公开制造业园区案例 150MW峰值/1.2TWh年用电作为尺度锚点 | S02
热负荷重构 | process_heat + max(0,18-T2M)*1900 + summer_hot_water | 用于模拟工业过程热 + 北方采暖季热负荷 | S02;S03
氢负荷重构 | 约 780-1100 kg/h，日间物流/生产上浮 | 根据氢能产业消纳场景给出连续用氢曲线，非实测 | S01;S12
购电价格 | 平段假设0.45元/kWh，按蒙西峰谷比价生成逐时电价 | 用户拿到企业交易合同后应替换平段价格 | S04;S19
天然气排放因子 | 38.931MJ/m3 * 15.3e-3 tC/GJ * 99% * 44/12 = 2.16kgCO2/m3 | 按中国核算指南默认参数推导 | S17
燃料电池发电效率 | 33.33 kWh/kgH2 * 55% = 18.33 kWh/kgH2 | 推荐值取18.5 | S15