## Sheet1
uncertainty_case_id | uncertainty_case_name | probability | status | annual_operation_cost_cny | annualized_investment_cost_cny | annual_demand_charge_cost_cny | annual_fuel_cell_backup_value_cny | annual_total_cost_cny | annual_grid_cost_cny | annual_grid_sell_revenue_cny | annual_gas_cost_cny | annual_carbon_cost_cny | annual_grid_purchase_kwh | annual_carbon_emission_kg | annual_renewable_available_kwh | annual_renewable_used_kwh | annual_renewable_consumption_rate | green_power_min_share | annual_green_power_share | annual_electricity_demand_kwh | annual_green_power_kwh | annual_h2_external_supply_kg | annual_grid_sell_kwh | grid_import_peak_kw | fuel_cell_backup_capacity_kw | cost_increase_vs_normal_pct | carbon_increase_vs_normal_pct
NORMAL | 正常预测 | 0.5 | optimal | 963135020.1315 | 53970146.1418 | 122025477.109 | 0 | 1139130643.3824 | 832997239.7352 | 0 | 31846467.0662 | 89460167.0345 | 2060554577.4451 | 1434576123.0674 | 0 | 0 | 0 | 0 | 0 | 2060554577.4451 | 0 | 0 | 0 | 310024.078 | 0 | 0 | 0
PV_LOW | 光伏偏低 | 0.12 | optimal | 963135020.1315 | 53970146.1418 | 122025477.109 | 0 | 1139130643.3824 | 832997239.7352 | 0 | 31846467.0662 | 89460167.0345 | 2060554577.4451 | 1434576123.0674 | 0 | 0 | 0 | 0 | 0 | 2060554577.4451 | 0 | 0 | 0 | 310024.078 | 0 | 0 | 0
WIND_LOW | 风电偏低 | 0.12 | optimal | 963135020.1315 | 53970146.1418 | 122025477.109 | 0 | 1139130643.3824 | 832997239.7352 | 0 | 31846467.0662 | 89460167.0345 | 2060554577.4451 | 1434576123.0674 | 0 | 0 | 0 | 0 | 0 | 2060554577.4451 | 0 | 0 | 0 | 310024.078 | 0 | 0 | 0
LOAD_HIGH | 电热负荷偏高 | 0.1 | optimal | 1047397242.3301 | 53970146.1418 | 128791081.5353 | 0 | 1230158470.0072 | 901164787.8521 | 0 | 41082629.3406 | 96318667.3261 | 2211268838.8632 | 1544558488.2305 | 0 | 0 | 0 | 0 | 0 | 2211268838.8632 | 0 | 0 | 0 | 327213.1137 | 0 | 7.991 | 7.6665
H2_HIGH | 氢负荷偏高 | 0.08 | optimal | 1035699922.8074 | 53970146.1418 | 122256582.9652 | 0 | 1211926651.9144 | 897004728.4795 | 0 | 31846467.0662 | 95368771.6676 | 2198895815.4896 | 1529326037.0041 | 0 | 0 | 0 | 0 | 0 | 2198895815.4896 | 0 | 0 | 0 | 310611.2372 | 0 | 6.3905 | 6.6047
EXTREME | 风光偏低且负荷偏高 | 0.08 | optimal | 1130406804.9185 | 53970146.1418 | 129590316.8059 | 0 | 1313967267.8662 | 969189805.7154 | 0 | 46833594.6134 | 102903425.9569 | 2359297225.9187 | 1650151153.8952 | 0 | 0 | 0 | 0 | 0 | 2359297225.9187 | 0 | 0 | 0 | 329243.6911 | 0 | 15.3483 | 15.0271