## Sheet1
typical_day_id | typical_day_name | weight_days | scenario_id | hour | electric_load_kw | heat_load_kw | hydrogen_load_kg | grid_buy_kw | pv_used_kw | pv_curtail_kw | wind_used_kw | wind_curtail_kw | heat_pump_power_kw | heat_pump_heat_kw | is_heat_pump_on | gas_boiler_heat_kw | gas_consumption_m3 | battery_charge_kw | battery_discharge_kw | battery_soc_kwh | is_battery_charging | is_battery_discharging | electrolyzer_power_kw | h2_production_kg | h2_charge_kg | h2_discharge_kg | h2_storage_kg | h2_external_supply_kg | h2_sale_kg | h2_fuel_cell_kg | fuel_cell_power_kw | is_fuel_cell_on | is_electrolyzer_on | carbon_emission_kg | power_balance_residual_kw | heat_balance_residual_kw | hydrogen_balance_residual_kg | fuel_cell_conversion_residual_kw
TD_SUMMER | 夏季典型日 | 120 | S5 | 0 | 5980 | 3720 | 15 | 6703.1579 | 0 | 0 | 3780 | 0 | 1240 | 3720 | 1 | 0 | 0 | 1263.1579 | 0 | 6200 | 1 | 0 | 2000 | 36.3775 | 21.3775 | 0 | 321.365 | 0 | 0 | 0 | 0 | 0 | 1 | 4342.976 | 4.5475e-13 | 0 | 0 | 0
TD_SUMMER | 夏季典型日 | 120 | S5 | 1 | 5750 | 3660 | 15 | 6920 | 0 | 0 | 4050 | 0 | 1220 | 3660 | 1 | 0 | 0 | 2000 | 0 | 8100 | 1 | 0 | 2000 | 36.3775 | 21.3775 | 0 | 342.7291 | 0 | 0 | 0 | 0 | 0 | 1 | 4483.468 | 0 | 0 | 7.1054e-15 | 0
TD_SUMMER | 夏季典型日 | 120 | S5 | 2 | 5520 | 3600 | 15 | 4400 | 0 | 0 | 4320 | 0 | 1200 | 3600 | 1 | 0 | 0 | 0 | 0 | 8100 | 1 | 0 | 2000 | 36.3775 | 21.3775 | 0 | 364.0923 | 0 | 0 | 0 | 0 | 0 | 1 | 2850.76 | 0 | 0 | 7.1054e-15 | 0
TD_SUMMER | 夏季典型日 | 120 | S5 | 3 | 5405 | 3540 | 15 | 6085 | 0 | 0 | 4500 | 0 | 1180 | 3540 | 1 | 0 | 0 | 2000 | 0 | 10000 | 1 | 0 | 2000 | 36.3775 | 21.3775 | 0 | 385.4547 | 0 | 0 | 0 | 0 | 0 | 1 | 3942.4715 | 0 | 0 | 7.1054e-15 | 0
TD_SUMMER | 夏季典型日 | 120 | S5 | 4 | 5520 | 3480 | 20 | 2800 | 0 | 0 | 4680 | 0 | 1160 | 3480 | 1 | 0 | 0 | 0 | 1.5879e-12 | 10000 | 1 | 3.1759e-16 | 800 | 15.4684 | 0 | 4.5316 | 380.907 | 0 | 0 | 0 | 0 | 0 | 1 | 1814.12 | 0 | 0 | 0 | 0
TD_SUMMER | 夏季典型日 | 120 | S5 | 5 | 5980 | 3600 | 25 | 1296 | 184 | 0 | 4500 | 0 | 1200 | 3600 | 1 | 0 | 0 | 0 | 2000 | 7894.7368 | -4.4409e-16 | 1 | 800 | 15.4684 | 0 | 9.5316 | 371.3595 | 0 | 0 | 0 | 0 | 0 | 1 | 839.6784 | 0 | 0 | 0 | 0
TD_SUMMER | 夏季典型日 | 120 | S5 | 6 | 7130 | 3900 | 40 | 0 | 1104 | 0 | 4140 | 0 | 1300 | 3900 | 1 | 0 | 0 | 0 | 3186 | 4541.0526 | 0 | 1 | 0 | 0 | 0 | 40 | 331.3441 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.0949e-13 | 0 | 0 | 0
TD_SUMMER | 夏季典型日 | 120 | S5 | 7 | 8050 | 4200 | 50 | 0 | 2760 | 0 | 3600 | 0 | 1400 | 4200 | 1 | 0 | 0 | 0 | 3090 | 1288.4211 | 0 | 1 | 0 | 0 | 0 | 50 | 281.3303 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.0949e-13 | 0 | 0 | 0
TD_SUMMER | 夏季典型日 | 120 | S5 | 8 | 8740 | 4080 | 55 | 1376 | 5060 | 0 | 3240 | 0 | 1360 | 4080 | 1 | 0 | 0 | 0 | 1224 | 0 | -2.2204e-16 | 1 | 800 | 15.4684 | 0 | 39.5316 | 241.787 | 0 | 0 | 0 | 0 | 0 | 1 | 891.5104 | 0 | 0 | 0 | 0
TD_SUMMER | 夏季典型日 | 120 | S5 | 9 | 9315 | 3600 | 55 | 1535 | 6900 | -9.0949e-13 | 2880 | 0 | 1200 | 3600 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 800 | 15.4684 | 0 | 39.5316 | 202.2453 | 0 | 0 | 0 | 0 | 0 | 1 | 994.5265 | 0 | 0 | 0 | 0
TD_SUMMER | 夏季典型日 | 120 | S5 | 10 | 9545 | 3120 | 45 | 738.4054 | 8096 | -9.0949e-13 | 2700 | 0 | 1040 | 3120 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 949.4054 | 18.1849 | 0 | 26.8151 | 175.4217 | 0 | 0 | 0 | 0 | 0 | 1 | 478.4128 | -6.8212e-13 | 0 | 0 | 0
TD_SUMMER | 夏季典型日 | 120 | S5 | 11 | 9430 | 2880 | 35 | 3130 | 8740 | 0 | 2520 | 0 | 960 | 2880 | 1 | 0 | 0 | 2000 | 0 | 1900 | 1 | 0 | 2000 | 36.3775 | 1.3775 | 0 | 176.7919 | 0 | 0 | 0 | 0 | 0 | 1 | 2027.927 | 0 | 0 | 7.1054e-15 | 0
TD_SUMMER | 夏季典型日 | 120 | S5 | 12 | 9200 | 2760 | 30 | 3140 | 8280 | 0 | 2700 | 0 | 920 | 2760 | 1 | 0 | 0 | 2000 | 0 | 3800 | 1 | 0 | 2000 | 36.3775 | 6.3775 | 0 | 183.1621 | 0 | 0 | 0 | 0 | 0 | 1 | 2034.406 | 0 | 0 | 7.1054e-15 | 0
TD_SUMMER | 夏季典型日 | 120 | S5 | 13 | 9085 | 2760 | 30 | 3769 | 7176 | -9.0949e-13 | 3060 | 0 | 920 | 2760 | 1 | 0 | 0 | 2000 | 0 | 5700 | 1 | 0 | 2000 | 36.3775 | 6.3775 | 0 | 189.5319 | 0 | 0 | 0 | 0 | 0 | 1 | 2441.9351 | 0 | 0 | 7.1054e-15 | 0
TD_SUMMER | 夏季典型日 | 120 | S5 | 14 | 9200 | 2880 | 35 | 5930.3158 | 5336 | 0 | 3420 | 0 | 960 | 2880 | 1 | 0 | 0 | 2526.3158 | 0 | 8100 | 1 | 0 | 2000 | 36.3775 | 1.3775 | 0 | 190.9015 | 0 | 0 | 0 | 0 | 0 | 1 | 3842.2516 | -9.0949e-13 | 0 | 7.1054e-15 | 0
TD_SUMMER | 夏季典型日 | 120 | S5 | 15 | 9545 | 3120 | 40 | 7585 | 3220 | -4.5475e-13 | 3780 | 0 | 1040 | 3120 | 1 | 0 | 0 | 2000 | 0 | 10000 | 1 | 0 | 2000 | 36.3775 | 0 | 3.6225 | 187.2711 | 0 | 0 | 0 | 0 | 0 | 1 | 4914.3215 | 0 | 0 | 7.1054e-15 | 0
TD_SUMMER | 夏季典型日 | 120 | S5 | 16 | 9890 | 3420 | 50 | 7366 | 1104 | 0 | 3960 | 0 | 1140 | 3420 | 1 | 0 | 0 | 0 | 0 | 10000 | 1 | 0 | 1400 | 26.3775 | 0 | 23.6225 | 163.6408 | 0 | 0 | 0 | 0 | 0 | 1 | 4772.4314 | 0 | 0 | 0 | 0
TD_SUMMER | 夏季典型日 | 120 | S5 | 17 | 10350 | 3840 | 60 | 8616 | 184 | 0 | 4230 | 0 | 1280 | 3840 | 1 | 0 | 0 | 0 | 0 | 10000 | 1 | 0 | 1400 | 26.3775 | 0 | 33.6225 | 130.0115 | 0 | 0 | 0 | 0 | 0 | 1 | 5582.3064 | 0 | 0 | 0 | 0
TD_SUMMER | 夏季典型日 | 120 | S5 | 18 | 10120 | 4200 | 50 | 3620 | 0 | 0 | 4500 | 0 | 0 | 0 | 1 | 4200 | 422.1581 | 0 | 2000 | 7894.7368 | 0 | 1 | 0 | 0 | 0 | 50 | 80.006 | 0 | 0 | 0 | 0 | 0 | 0 | 3257.2594 | 0 | 0 | 0 | 0
TD_SUMMER | 夏季典型日 | 120 | S5 | 19 | 9430 | 4320 | 35 | 1250 | 0 | 0 | 4680 | 0 | 0 | 0 | 1 | 4320 | 434.2197 | 0 | 3500 | 4210.5263 | 0 | 1 | 0 | 0 | 0 | 35 | 45.0027 | 0 | 0 | 0 | 0 | 0 | 0 | 1747.7896 | 0 | 0 | 0 | 0
TD_SUMMER | 夏季典型日 | 120 | S5 | 20 | 8510 | 4200 | 25 | 1560 | 0 | 0 | 4950 | 0 | 0 | 0 | 1 | 4200 | 422.1581 | 0 | 2000 | 2105.2632 | 0 | 1 | 0 | 0 | 0 | 25 | 20.0008 | 0 | 0 | 0 | 0 | 0 | 0 | 1922.5854 | 0 | 0 | 0 | 0
TD_SUMMER | 夏季典型日 | 120 | S5 | 21 | 7475 | 4080 | 20 | 615 | 0 | 0 | 4860 | 0 | 0 | 0 | 1 | 4080 | 410.0964 | 0 | 2000 | 0 | 0 | 1 | 0 | 0 | 0 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1284.2668 | 0 | 0 | 0 | 0
TD_SUMMER | 夏季典型日 | 120 | S5 | 22 | 6670 | 3900 | 15 | 6244.7059 | 0 | 0 | 4500 | 0 | 1300 | 3900 | 1 | 0 | 0 | 2000 | 0 | 1900 | 1 | 0 | 774.7059 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 4045.9449 | 2.2737e-13 | 0 | 0 | 0
TD_SUMMER | 夏季典型日 | 120 | S5 | 23 | 6210 | 3780 | 15 | 7367.8638 | 0 | 0 | 4140 | 0 | 1260 | 3780 | 1 | 0 | 0 | 3263.1579 | 0 | 5000 | 1 | 0 | 774.7059 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 4773.6389 | -2.2737e-13 | 0 | 0 | 0