## Sheet1
scenario_id | hour | electric_load_kw | heat_load_kw | hydrogen_load_kg | grid_buy_kw | pv_used_kw | pv_curtail_kw | wind_used_kw | wind_curtail_kw | heat_pump_power_kw | heat_pump_heat_kw | is_heat_pump_on | gas_boiler_heat_kw | gas_consumption_m3 | battery_charge_kw | battery_discharge_kw | battery_soc_kwh | is_battery_charging | is_battery_discharging | electrolyzer_power_kw | h2_production_kg | h2_charge_kg | h2_discharge_kg | h2_storage_kg | h2_external_supply_kg | h2_fuel_cell_kg | fuel_cell_power_kw | is_fuel_cell_on | is_electrolyzer_on | carbon_emission_kg | power_balance_residual_kw | heat_balance_residual_kw | hydrogen_balance_residual_kg | fuel_cell_conversion_residual_kw | case_label | study_id | study_title | base_scenario_id | x_label | x_value
H0 | 0 | 5200 | 6200 | 0 | 8066.6667 | 0 | 0 | 4200 | 0 | 2066.6667 | 6200 | 1 | 0 | 0 | 5000 | 0 | 9750 | 1 | 0 | 0 | 0 | 0 | 0 | 300 | 0 | 0 | 0 | 1 | 1 | 5226.3933 | 0 | 0 | 0 | 0 | 0.0 倍 | hydrogen_load_sensitivity | 氢负荷敏感性 | S5 | 氢负荷倍率 | 0
H0 | 1 | 5000 | 6100 | 0 | 2533.3333 | 0 | 0 | 4500 | 0 | 2033.3333 | 6100 | 1 | 0 | 0 | 0 | 0 | 9750 | 1 | 0 | 0 | 0 | 0 | 0 | 300 | 0 | 0 | 0 | 1 | 1 | 1641.3467 | -2.2737e-13 | 0 | 0 | 0 | 0.0 倍 | hydrogen_load_sensitivity | 氢负荷敏感性 | S5 | 氢负荷倍率 | 0
H0 | 2 | 4800 | 6000 | 0 | 2000 | 0 | 0 | 4800 | 0 | 2000 | 6000 | 1 | 0 | 0 | 0 | 0 | 9750 | 1 | 0 | 0 | 0 | 0 | 0 | 300 | 0 | 0 | 0 | 1 | 1 | 1295.8 | 0 | 0 | 0 | 0 | 0.0 倍 | hydrogen_load_sensitivity | 氢负荷敏感性 | S5 | 氢负荷倍率 | 0
H0 | 3 | 4700 | 5900 | 0 | 1929.8246 | 0 | 0 | 5000 | 0 | 1966.6667 | 5900 | 1 | 0 | 0 | 263.1579 | 0 | 10000 | 1 | 0 | 0 | 0 | 0 | 0 | 300 | 0 | 0 | 0 | 1 | 1 | 1250.3333 | -6.8212e-13 | 0 | 0 | 0 | 0.0 倍 | hydrogen_load_sensitivity | 氢负荷敏感性 | S5 | 氢负荷倍率 | 0
H0 | 4 | 4800 | 5800 | 0 | 533.3333 | 0 | 0 | 5200 | 0 | 1933.3333 | 5800 | 1 | 0 | 0 | 0 | 0 | 10000 | 1 | 0 | 0 | 0 | 0 | 55.5556 | 244.4444 | 0 | 55.5556 | 1000 | 1 | 1 | 345.5467 | -2.2737e-13 | 0 | -1.4211e-14 | 0 | 0.0 倍 | hydrogen_load_sensitivity | 氢负荷敏感性 | S5 | 氢负荷倍率 | 0
H0 | 5 | 5200 | 6000 | 0 | 646.6667 | 160 | 0 | 5000 | 0 | 2000 | 6000 | 1 | 0 | 0 | 0 | 993.3333 | 8954.386 | 0 | 1 | 0 | 0 | 0 | 22.2222 | 222.2222 | 0 | 22.2222 | 400 | 1 | 1 | 418.9753 | 9.0949e-13 | 0 | 0 | 0 | 0.0 倍 | hydrogen_load_sensitivity | 氢负荷敏感性 | S5 | 氢负荷倍率 | 0
H0 | 6 | 6200 | 6500 | 0 | 0 | 960 | 0 | 4600 | 0 | 2166.6667 | 6500 | 1 | 0 | 0 | 0 | 2806.6667 | 6000 | 0 | 1 | 0 | 0 | 0 | 0 | 222.2222 | 0 | 0 | 0 | 1 | 1 | 0 | -4.5475e-13 | 0 | 0 | 0 | 0.0 倍 | hydrogen_load_sensitivity | 氢负荷敏感性 | S5 | 氢负荷倍率 | 0
H0 | 7 | 7000 | 7000 | 0 | 0 | 2400 | 0 | 4000 | 0 | 2333.3333 | 7000 | 1 | 0 | 0 | 0 | 2933.3333 | 2912.2807 | 0 | 1 | 0 | 0 | 0 | 0 | 222.2222 | 0 | 0 | 0 | 1 | 1 | 0 | -1.3642e-12 | 0 | 0 | 0 | 0.0 倍 | hydrogen_load_sensitivity | 氢负荷敏感性 | S5 | 氢负荷倍率 | 0
H0 | 8 | 7600 | 6800 | 0 | 0 | 4400 | 0 | 3600 | 0 | 2266.6667 | 6800 | 1 | 0 | 0 | 0 | 1866.6667 | 947.3684 | 0 | 1 | 0 | 0 | 0 | 0 | 222.2222 | 0 | 0 | 0 | 1 | 1 | 0 | -4.5475e-13 | 0 | 0 | 0 | 0.0 倍 | hydrogen_load_sensitivity | 氢负荷敏感性 | S5 | 氢负荷倍率 | 0
H0 | 9 | 8100 | 6000 | 0 | 0 | 6000 | 0 | 3200 | 0 | 2000 | 6000 | 1 | 0 | 0 | 0 | 900 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 222.2222 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0.0 倍 | hydrogen_load_sensitivity | 氢负荷敏感性 | S5 | 氢负荷倍率 | 0
H0 | 10 | 8300 | 5200 | 0 | 0 | 7040 | 0 | 3000 | 0 | 1733.3333 | 5200 | 1 | 0 | 0 | 6.6667 | 0 | 6.3333 | 1 | 0 | 0 | 0 | 0 | 0 | 222.2222 | 0 | 0 | 0 | 1 | 1 | 0 | 6.8212e-13 | 0 | 0 | 0 | 0.0 倍 | hydrogen_load_sensitivity | 氢负荷敏感性 | S5 | 氢负荷倍率 | 0
H0 | 11 | 8200 | 4800 | 0 | 0 | 7600 | 0 | 2800 | 0 | 1600 | 4800 | 1 | 0 | 0 | 600 | 0 | 576.3333 | 1 | 0 | 0 | 0 | 0 | 0 | 222.2222 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0.0 倍 | hydrogen_load_sensitivity | 氢负荷敏感性 | S5 | 氢负荷倍率 | 0
H0 | 12 | 8000 | 4600 | 0 | 4252.9825 | 7200 | 0 | 3000 | 0 | 1533.3333 | 4600 | 1 | 0 | 0 | 4919.6491 | 0 | 5250 | 1 | 0 | 0 | 0 | 0 | 0 | 222.2222 | 0 | 0 | 0 | 1 | 1 | 2755.5073 | 0 | 0 | 0 | 0 | 0.0 倍 | hydrogen_load_sensitivity | 氢负荷敏感性 | S5 | 氢负荷倍率 | 0
H0 | 13 | 7900 | 4600 | 0 | 4793.3333 | 6240 | 0 | 3400 | 0 | 1533.3333 | 4600 | 1 | 0 | 0 | 5000 | 0 | 10000 | 1 | 0 | 0 | 0 | 0 | 0 | 222.2222 | 0 | 0 | 0 | 1 | 1 | 3105.6007 | 9.0949e-13 | 0 | 0 | 0 | 0.0 倍 | hydrogen_load_sensitivity | 氢负荷敏感性 | S5 | 氢负荷倍率 | 0
H0 | 14 | 8000 | 4800 | 0 | 1160 | 4640 | 0 | 3800 | 0 | 1600 | 4800 | 1 | 0 | 0 | 0 | 0 | 10000 | 1 | 0 | 0 | 0 | 0 | 0 | 222.2222 | 0 | 0 | 0 | 1 | 1 | 751.564 | 0 | 0 | 0 | 0 | 0.0 倍 | hydrogen_load_sensitivity | 氢负荷敏感性 | S5 | 氢负荷倍率 | 0
H0 | 15 | 8300 | 5200 | 0 | 3033.3333 | 2800 | 0 | 4200 | 0 | 1733.3333 | 5200 | 1 | 0 | 0 | 0 | 0 | 10000 | 1 | 0 | 0 | 0 | 0 | 0 | 222.2222 | 0 | 0 | 0 | 1 | 1 | 1965.2967 | 6.8212e-13 | 0 | 0 | 0 | 0.0 倍 | hydrogen_load_sensitivity | 氢负荷敏感性 | S5 | 氢负荷倍率 | 0
H0 | 16 | 8600 | 5700 | 0 | 5140 | 960 | 0 | 4400 | 0 | 1900 | 5700 | 1 | 0 | 0 | 0 | 0 | 10000 | 1 | 0 | 0 | 0 | 0 | 0 | 222.2222 | 0 | 0 | 0 | 1 | 1 | 3330.206 | 0 | 0 | 0 | 0 | 0.0 倍 | hydrogen_load_sensitivity | 氢负荷敏感性 | S5 | 氢负荷倍率 | 0
H0 | 17 | 9000 | 6400 | 0 | 6273.3333 | 160 | 0 | 4700 | 0 | 2133.3333 | 6400 | 1 | 0 | 0 | 0 | 0 | 10000 | 1 | 0 | 0 | 0 | 0 | 0 | 222.2222 | 0 | 0 | 0 | 1 | 1 | 4064.4927 | -1.3642e-12 | 0 | 0 | 0 | 0.0 倍 | hydrogen_load_sensitivity | 氢负荷敏感性 | S5 | 氢负荷倍率 | 0
H0 | 18 | 8800 | 7000 | 0 | 133.3333 | 0 | 0 | 5000 | 0 | 2333.3333 | 7000 | 1 | 0 | 0 | 0 | 5000 | 4736.8421 | 0 | 1 | 0 | 0 | 0 | 55.5556 | 166.6667 | 0 | 55.5556 | 1000 | 1 | 1 | 86.3867 | -1.3642e-12 | 0 | -1.4211e-14 | 0 | 0.0 倍 | hydrogen_load_sensitivity | 氢负荷敏感性 | S5 | 氢负荷倍率 | 0
H0 | 19 | 8200 | 7200 | 0 | 0 | 0 | 0 | 5200 | 0 | 2400 | 7200 | 1 | 0 | 0 | 0 | 4400 | 105.2632 | 0 | 1 | 0 | 0 | 0 | 55.5556 | 111.1111 | 0 | 55.5556 | 1000 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0.0 倍 | hydrogen_load_sensitivity | 氢负荷敏感性 | S5 | 氢负荷倍率 | 0
H0 | 20 | 7400 | 7000 | 0 | 3133.3333 | 0 | 0 | 5500 | 0 | 2333.3333 | 7000 | 1 | 0 | 0 | 0 | 100 | -9.0949e-13 | -4.4409e-15 | 1 | 0 | 0 | 0 | 55.5556 | 55.5556 | 0 | 55.5556 | 1000 | 1 | 1 | 2030.0867 | -1.3642e-12 | 0 | -7.1054e-15 | 0 | 0.0 倍 | hydrogen_load_sensitivity | 氢负荷敏感性 | S5 | 氢负荷倍率 | 0
H0 | 21 | 6500 | 6800 | 0 | 2366.6667 | 0 | 0 | 5400 | 0 | 2266.6667 | 6800 | 1 | 0 | 0 | 0 | -8.6402e-13 | 0 | 1 | 0 | 0 | 0 | 0 | 55.5556 | 0 | 0 | 55.5556 | 1000 | 1 | 1 | 1533.3633 | -4.5475e-13 | 0 | -7.1054e-15 | 0 | 0.0 倍 | hydrogen_load_sensitivity | 氢负荷敏感性 | S5 | 氢负荷倍率 | 0
H0 | 22 | 5800 | 6500 | 0 | 3229.8246 | 0 | 0 | 5000 | 0 | 2166.6667 | 6500 | 1 | 0 | 0 | 263.1579 | 0 | 250 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 2092.6033 | -9.6634e-13 | 0 | 0 | 0 | 0.0 倍 | hydrogen_load_sensitivity | 氢负荷敏感性 | S5 | 氢负荷倍率 | 0
H0 | 23 | 5400 | 6300 | 0 | 7900 | 0 | 0 | 4600 | 0 | 2100 | 6300 | 1 | 0 | 0 | 5000 | 0 | 5000 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 5118.41 | 0 | 0 | 0 | 0 | 0.0 倍 | hydrogen_load_sensitivity | 氢负荷敏感性 | S5 | 氢负荷倍率 | 0