## Sheet1
scenario_id | hour | electric_load_kw | heat_load_kw | hydrogen_load_kg | grid_buy_kw | pv_used_kw | pv_curtail_kw | wind_used_kw | wind_curtail_kw | heat_pump_power_kw | heat_pump_heat_kw | is_heat_pump_on | gas_boiler_heat_kw | gas_consumption_m3 | battery_charge_kw | battery_discharge_kw | battery_soc_kwh | is_battery_charging | is_battery_discharging | electrolyzer_power_kw | h2_production_kg | h2_charge_kg | h2_discharge_kg | h2_storage_kg | h2_external_supply_kg | h2_fuel_cell_kg | fuel_cell_power_kw | is_fuel_cell_on | is_electrolyzer_on | carbon_emission_kg | power_balance_residual_kw | heat_balance_residual_kw | hydrogen_balance_residual_kg | fuel_cell_conversion_residual_kw | case_label | study_id | study_title | base_scenario_id | x_label | x_value
R3 | 0 | 5200 | 6200 | 15 | 4226.6667 | 0 | 0 | 5040 | 0 | 2066.6667 | 6200 | 1 | 0 | 0 | 0 | 0 | 5000 | 1 | 0 | 2000 | 38.4615 | 23.4615 | 0 | 323.4615 | 0 | 0 | 0 | 1 | 1 | 2738.4573 | -4.5475e-13 | 0 | 1.4211e-14 | 0 | 1.2 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.2
R3 | 1 | 5000 | 6100 | 15 | 3633.3333 | 0 | 0 | 5400 | 0 | 2033.3333 | 6100 | 1 | 0 | 0 | 0 | 0 | 5000 | 1 | 0 | 2000 | 38.4615 | 23.4615 | 0 | 346.9231 | 0 | 0 | 0 | 1 | 1 | 2354.0367 | -1.1369e-12 | 0 | 0 | 0 | 1.2 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.2
R3 | 2 | 4800 | 6000 | 15 | 3303.1579 | 0 | 0 | 5760 | 0 | 2000 | 6000 | 1 | 0 | 0 | 263.1579 | 0 | 5250 | 1 | 0 | 2000 | 38.4615 | 23.4615 | 0 | 370.3846 | 0 | 0 | 0 | 1 | 1 | 2140.116 | -4.5475e-13 | 0 | 0 | 0 | 1.2 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.2
R3 | 3 | 4700 | 5900 | 15 | 7666.6667 | 0 | 0 | 6000 | 0 | 1966.6667 | 5900 | 1 | 0 | 0 | 5000 | 0 | 10000 | 1 | 0 | 2000 | 38.4615 | 23.4615 | 0 | 393.8462 | 0 | 0 | 0 | 1 | 1 | 4967.2333 | -9.0949e-13 | 0 | 0 | 0 | 1.2 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.2
R3 | 4 | 4800 | 5800 | 20 | 0 | 0 | 0 | 6240 | 0 | 1933.3333 | 5800 | 1 | 0 | 0 | 0 | 493.3333 | 9480.7018 | 0 | 1 | 0 | 0 | 0 | 20 | 373.8462 | 0 | 0 | 0 | 1 | 1 | 0 | -2.2737e-13 | 0 | 0 | 0 | 1.2 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.2
R3 | 5 | 5200 | 6000 | 25 | 0 | 192 | 0 | 6000 | 0 | 2000 | 6000 | 1 | 0 | 0 | 0 | 1008 | 8419.6491 | 0 | 1 | 0 | 0 | 0 | 25 | 348.8462 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1.2 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.2
R3 | 6 | 6200 | 6500 | 40 | 0 | 1152 | 0 | 5520 | 0 | 2166.6667 | 6500 | 1 | 0 | 0 | 0 | 2078.6667 | 6231.5789 | 0 | 1 | 384 | 7.3846 | 0 | 32.6154 | 316.2308 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1.2 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.2
R3 | 7 | 7000 | 7000 | 50 | 0 | 2880 | 0 | 4800 | 0 | 2333.3333 | 7000 | 1 | 0 | 0 | 0 | 3653.3333 | 2385.9649 | 0 | 1 | 2000 | 38.4615 | 0 | 11.5385 | 304.6923 | 0 | 0 | 0 | 1 | 1 | 0 | -1.3642e-12 | 0 | 0 | 0 | 1.2 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.2
R3 | 8 | 7600 | 6800 | 55 | 0 | 5280 | 0 | 4320 | 0 | 2266.6667 | 6800 | 1 | 0 | 0 | 0 | 2266.6667 | 0 | 0 | 1 | 2000 | 38.4615 | 0 | 16.5385 | 288.1538 | 0 | 0 | 0 | 1 | 1 | 0 | -4.5475e-13 | 0 | 0 | 0 | 1.2 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.2
R3 | 9 | 8100 | 6000 | 55 | 0 | 7200 | 0 | 3840 | 0 | 2000 | 6000 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 940 | 18.0769 | 0 | 36.9231 | 251.2308 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1.2 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.2
R3 | 10 | 8300 | 5200 | 45 | 0 | 8448 | 0 | 3600 | 0 | 1733.3333 | 5200 | 1 | 0 | 0 | 14.6667 | 0 | 13.9333 | 1 | 0 | 2000 | 38.4615 | 0 | 6.5385 | 244.6923 | 0 | 0 | 0 | 1 | 1 | 0 | 6.8212e-13 | 0 | 0 | 0 | 1.2 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.2
R3 | 11 | 8200 | 4800 | 35 | 0 | 9120 | 0 | 3360 | 0 | 1600 | 4800 | 1 | 0 | 0 | 680 | 0 | 659.9333 | 1 | 0 | 2000 | 38.4615 | 3.4615 | 0 | 248.1538 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1.2 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.2
R3 | 12 | 8000 | 4600 | 30 | 3990.3158 | 8640 | 0 | 3600 | 0 | 1533.3333 | 4600 | 1 | 0 | 0 | 4696.9825 | 0 | 5122.0667 | 1 | 0 | 2000 | 38.4615 | 8.4615 | 0 | 256.6154 | 0 | 0 | 0 | 1 | 1 | 2585.3256 | 9.0949e-13 | 0 | 0 | 0 | 1.2 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.2
R3 | 13 | 7900 | 4600 | 30 | 0 | 7488 | 0 | 4080 | 0 | 1533.3333 | 4600 | 1 | 0 | 0 | 134.6667 | 0 | 5250 | 1 | 0 | 2000 | 38.4615 | 8.4615 | 0 | 265.0769 | 0 | 0 | 0 | 1 | 1 | 0 | 9.0949e-13 | 0 | 0 | 0 | 1.2 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.2
R3 | 14 | 8000 | 4800 | 35 | 1472 | 5568 | 0 | 4560 | 0 | 1600 | 4800 | 1 | 0 | 0 | 0 | 0 | 5250 | 1 | 0 | 2000 | 38.4615 | 3.4615 | 0 | 268.5385 | 0 | 0 | 0 | 1 | 1 | 953.7088 | 0 | 0 | 0 | 0 | 1.2 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.2
R3 | 15 | 8300 | 5200 | 40 | 8633.3333 | 3360 | 0 | 5040 | 0 | 1733.3333 | 5200 | 1 | 0 | 0 | 5000 | 0 | 10000 | 1 | 0 | 2000 | 38.4615 | 0 | 1.5385 | 267 | 0 | 0 | 0 | 1 | 1 | 5593.5367 | 2.7285e-12 | 0 | 0 | 0 | 1.2 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.2
R3 | 16 | 8600 | 5700 | 50 | 4068 | 1152 | 0 | 5280 | 0 | 1900 | 5700 | 1 | 0 | 0 | 0 | 0 | 10000 | 1 | 0 | 0 | 0 | 0 | 50 | 217 | 0 | 0 | 0 | 1 | 1 | 2635.6572 | 0 | 0 | 0 | 0 | 1.2 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.2
R3 | 17 | 9000 | 6400 | 60 | 5301.3333 | 192 | 0 | 5640 | 0 | 2133.3333 | 6400 | 1 | 0 | 0 | 0 | 0 | 10000 | 1 | 0 | 0 | 0 | 0 | 60 | 157 | 0 | 0 | 0 | 1 | 1 | 3434.7339 | -1.3642e-12 | 0 | 0 | 0 | 1.2 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.2
R3 | 18 | 8800 | 7000 | 50 | 5133.3333 | 0 | 0 | 6000 | 0 | 2333.3333 | 7000 | 1 | 0 | 0 | 0 | 0 | 10000 | 1 | 0 | 0 | 0 | 0 | 50 | 107 | 0 | 0 | 0 | 1 | 1 | 3325.8867 | -1.3642e-12 | 0 | 0 | 0 | 1.2 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.2
R3 | 19 | 8200 | 7200 | 35 | 0 | 0 | 0 | 6240 | 0 | 2400 | 7200 | 1 | 0 | 0 | 0 | 4360 | 5410.5263 | 0 | 1 | 0 | 0 | 0 | 35 | 72 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1.2 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.2
R3 | 20 | 7400 | 7000 | 25 | 0 | 0 | 0 | 6600 | 0 | 2333.3333 | 7000 | 1 | 0 | 0 | 0 | 3133.3333 | 2112.2807 | 0 | 1 | 0 | 0 | 0 | 25 | 47 | 0 | 0 | 0 | 1 | 1 | 0 | -1.3642e-12 | 0 | 0 | 0 | 1.2 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.2
R3 | 21 | 6500 | 6800 | 20 | 280 | 0 | 0 | 6480 | 0 | 2266.6667 | 6800 | 1 | 0 | 0 | 0 | 2006.6667 | 0 | -9.3259e-15 | 1 | 0 | 0 | 0 | 20 | 27 | 0 | 0 | 0 | 1 | 1 | 181.412 | -4.5475e-13 | 0 | 0 | 0 | 1.2 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.2
R3 | 22 | 5800 | 6500 | 15 | 2229.8246 | 0 | 0 | 6000 | 0 | 2166.6667 | 6500 | 1 | 0 | 0 | 263.1579 | 0 | 250 | 1 | 0 | 0 | 0 | 0 | 15 | 12 | 0 | 0 | 0 | 1 | 1 | 1444.7033 | -9.6634e-13 | 0 | 0 | 0 | 1.2 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.2
R3 | 23 | 5400 | 6300 | 15 | 7136 | 0 | 0 | 5520 | 0 | 2100 | 6300 | 1 | 0 | 0 | 5000 | 0 | 5000 | 1 | 0 | 156 | 3 | 0 | 12 | 0 | 0 | 0 | 0 | 1 | 1 | 4623.4144 | 0 | 0 | 0 | 0 | 1.2 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.2