## Sheet1
typical_day_id | typical_day_name | weight_days | scenario_id | hour | electric_load_kw | heat_load_kw | hydrogen_load_kg | grid_buy_kw | pv_used_kw | pv_curtail_kw | wind_used_kw | wind_curtail_kw | heat_pump_power_kw | heat_pump_heat_kw | is_heat_pump_on | gas_boiler_heat_kw | gas_consumption_m3 | battery_charge_kw | battery_discharge_kw | battery_soc_kwh | is_battery_charging | is_battery_discharging | electrolyzer_power_kw | h2_production_kg | h2_charge_kg | h2_discharge_kg | h2_storage_kg | h2_external_supply_kg | h2_sale_kg | h2_fuel_cell_kg | fuel_cell_power_kw | is_fuel_cell_on | is_electrolyzer_on | carbon_emission_kg | power_balance_residual_kw | heat_balance_residual_kw | hydrogen_balance_residual_kg | fuel_cell_conversion_residual_kw
TD_SUMMER | 夏季典型日 | 120 | S5 | 0 | 5980 | 3720 | 15 | 5440 | 0 | 0 | 3780 | 0 | 1240 | 3720 | 1 | 0 | 0 | 0 | 0 | 5000 | 1 | 0 | 2000 | 38.4615 | 23.4615 | 0 | 323.4615 | 0 | 0 | 0 | 0 | 1 | 1 | 3524.576 | 9.0949e-13 | 0 | 1.4211e-14 | 0
TD_SUMMER | 夏季典型日 | 120 | S5 | 1 | 5750 | 3660 | 15 | 5183.1579 | 0 | 0 | 4050 | 0 | 1220 | 3660 | 1 | 0 | 0 | 263.1579 | 0 | 5250 | 1 | 0 | 2000 | 38.4615 | 23.4615 | 0 | 346.9231 | 0 | 0 | 0 | 0 | 1 | 1 | 3358.168 | 1.3642e-12 | 0 | 0 | 0
TD_SUMMER | 夏季典型日 | 120 | S5 | 2 | 5520 | 3600 | 15 | 9400 | 0 | 0 | 4320 | 0 | 1200 | 3600 | 1 | 0 | 0 | 5000 | 0 | 10000 | 1 | 0 | 2000 | 38.4615 | 23.4615 | 0 | 370.3846 | 0 | 0 | 0 | 0 | 1 | 1 | 6090.26 | 0 | 0 | 0 | 0
TD_SUMMER | 夏季典型日 | 120 | S5 | 3 | 5405 | 3540 | 15 | 4085 | 0 | 0 | 4500 | 0 | 1180 | 3540 | 1 | 0 | 0 | 0 | 0 | 10000 | 1 | 0 | 2000 | 38.4615 | 23.4615 | 0 | 393.8462 | 0 | 0 | 0 | 0 | 1 | 1 | 2646.6715 | 0 | 0 | 0 | 0
TD_SUMMER | 夏季典型日 | 120 | S5 | 4 | 5520 | 3480 | 20 | 2000 | 0 | 0 | 4680 | 0 | 1160 | 3480 | 1 | 0 | 0 | 0 | 0 | 10000 | 1 | 0 | 0 | 0 | 0 | 20 | 373.8462 | 0 | 0 | 0 | 0 | 1 | 1 | 1295.8 | 0 | 0 | 0 | 0
TD_SUMMER | 夏季典型日 | 120 | S5 | 5 | 5980 | 3600 | 25 | 2496 | 184 | 0 | 4500 | 0 | 1200 | 3600 | 1 | 0 | 0 | 0 | 0 | 10000 | 1 | 0 | 0 | 0 | 0 | 25 | 348.8462 | 0 | 0 | 0 | 0 | 1 | 1 | 1617.1584 | 0 | 0 | 0 | 0
TD_SUMMER | 夏季典型日 | 120 | S5 | 6 | 7130 | 3900 | 40 | 0 | 1104 | 0 | 4140 | 0 | 1300 | 3900 | 1 | 0 | 0 | 0 | 4500 | 5263.1579 | 0 | 1 | 1314 | 25.2692 | 0 | 14.7308 | 334.1154 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | -2.2737e-13 | 0 | 0 | 0
TD_SUMMER | 夏季典型日 | 120 | S5 | 7 | 8050 | 4200 | 50 | 0 | 2760 | 0 | 3600 | 0 | 1400 | 4200 | 1 | 0 | 0 | 0 | 5000 | 0 | 0 | 1 | 1910 | 36.7308 | 0 | 13.2692 | 320.8462 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 9.0949e-13 | 0 | 0 | 0
TD_SUMMER | 夏季典型日 | 120 | S5 | 8 | 8740 | 4080 | 55 | 1800 | 5060 | 0 | 3240 | 0 | 1360 | 4080 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 55 | 265.8462 | 0 | 0 | 0 | 0 | 1 | 1 | 1166.22 | 0 | 0 | 0 | 0
TD_SUMMER | 夏季典型日 | 120 | S5 | 9 | 9315 | 3600 | 55 | 735 | 6900 | -9.0949e-13 | 2880 | 0 | 1200 | 3600 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 55 | 210.8462 | 0 | 0 | 0 | 0 | 1 | 1 | 476.2065 | 0 | 0 | 0 | 0
TD_SUMMER | 夏季典型日 | 120 | S5 | 10 | 9545 | 3120 | 45 | 0 | 8096 | -9.0949e-13 | 2700 | 0 | 1040 | 3120 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 211 | 4.0577 | 0 | 40.9423 | 169.9038 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | -2.16e-12 | 0 | 0 | 0
TD_SUMMER | 夏季典型日 | 120 | S5 | 11 | 9430 | 2880 | 35 | 1130 | 8740 | 0 | 2520 | 0 | 960 | 2880 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2000 | 38.4615 | 3.4615 | 0 | 173.3654 | 0 | 0 | 0 | 0 | 1 | 1 | 732.127 | 0 | 0 | 0 | 0
TD_SUMMER | 夏季典型日 | 120 | S5 | 12 | 9200 | 2760 | 30 | 1140 | 8280 | 0 | 2700 | 0 | 920 | 2760 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2000 | 38.4615 | 8.4615 | 0 | 181.8269 | 0 | 0 | 0 | 0 | 1 | 1 | 738.606 | 0 | 0 | 0 | 0
TD_SUMMER | 夏季典型日 | 120 | S5 | 13 | 9085 | 2760 | 30 | 2295.3158 | 7176 | -9.0949e-13 | 3060 | 0 | 920 | 2760 | 1 | 0 | 0 | 526.3158 | 0 | 500 | 1 | 0 | 2000 | 38.4615 | 8.4615 | 0 | 190.2885 | 0 | 0 | 0 | 0 | 1 | 1 | 1487.1351 | -9.0949e-13 | 0 | 0 | 0
TD_SUMMER | 夏季典型日 | 120 | S5 | 14 | 9200 | 2880 | 35 | 8404 | 5336 | 0 | 3420 | 0 | 960 | 2880 | 1 | 0 | 0 | 5000 | 0 | 5250 | 1 | 0 | 2000 | 38.4615 | 3.4615 | 0 | 193.75 | 0 | 0 | 0 | 0 | 1 | 1 | 5444.9516 | 0 | 0 | 0 | 0
TD_SUMMER | 夏季典型日 | 120 | S5 | 15 | 9545 | 3120 | 40 | 10585 | 3220 | -4.5475e-13 | 3780 | 0 | 1040 | 3120 | 1 | 0 | 0 | 5000 | 0 | 10000 | 1 | 0 | 2000 | 38.4615 | 0 | 1.5385 | 192.2115 | 0 | 0 | 0 | 0 | 1 | 1 | 6858.0215 | 0 | 0 | 0 | 0
TD_SUMMER | 夏季典型日 | 120 | S5 | 16 | 9890 | 3420 | 50 | 7966 | 1104 | 0 | 3960 | 0 | 1140 | 3420 | 1 | 0 | 0 | 0 | 0 | 10000 | 1 | 0 | 2000 | 38.4615 | 0 | 11.5385 | 180.6731 | 0 | 0 | 0 | 0 | 1 | 1 | 5161.1714 | 0 | 0 | 0 | 0
TD_SUMMER | 夏季典型日 | 120 | S5 | 17 | 10350 | 3840 | 60 | 7701 | 184 | 0 | 4230 | 0 | 1280 | 3840 | 1 | 0 | 0 | 0 | 0 | 10000 | 1 | 0 | 485 | 9.3269 | 0 | 50.6731 | 130 | 0 | 0 | 0 | 0 | 1 | 1 | 4989.4779 | 0 | 0 | 0 | 0
TD_SUMMER | 夏季典型日 | 120 | S5 | 18 | 10120 | 4200 | 50 | 2020 | 0 | 0 | 4500 | 0 | 1400 | 4200 | 1 | 0 | 0 | 0 | 5000 | 4736.8421 | 0 | 1 | 0 | 0 | 0 | 50 | 80 | 0 | 0 | 0 | 0 | 1 | 1 | 1308.758 | 0 | 0 | 0 | 0
TD_SUMMER | 夏季典型日 | 120 | S5 | 19 | 9430 | 4320 | 35 | 6190 | 0 | 0 | 4680 | 0 | 1440 | 4320 | 1 | 0 | 0 | 0 | 0 | 4736.8421 | 1 | 0 | 0 | 0 | 0 | 35 | 45 | 0 | 0 | 0 | 0 | 1 | 1 | 4010.501 | 0 | 0 | 0 | 0
TD_SUMMER | 夏季典型日 | 120 | S5 | 20 | 8510 | 4200 | 25 | 460 | 0 | 0 | 4950 | 0 | 1400 | 4200 | 1 | 0 | 0 | 0 | 4500 | 0 | 0 | 1 | 0 | 0 | 0 | 25 | 20 | 0 | 0 | 0 | 0 | 1 | 1 | 298.034 | 0 | 0 | 0 | 0
TD_SUMMER | 夏季典型日 | 120 | S5 | 21 | 7475 | 4080 | 20 | 3975 | 0 | 0 | 4860 | 0 | 1360 | 4080 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 20 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 2575.4025 | 9.0949e-13 | 0 | 0 | 0
TD_SUMMER | 夏季典型日 | 120 | S5 | 22 | 6670 | 3900 | 15 | 4513.1579 | 0 | 0 | 4500 | 0 | 1300 | 3900 | 1 | 0 | 0 | 263.1579 | 0 | 250 | 1 | 0 | 780 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 2924.075 | 4.5475e-13 | 0 | 0 | 0
TD_SUMMER | 夏季典型日 | 120 | S5 | 23 | 6210 | 3780 | 15 | 9110 | 0 | 0 | 4140 | 0 | 1260 | 3780 | 1 | 0 | 0 | 5000 | 0 | 5000 | 1 | 0 | 780 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 5902.369 | 9.0949e-13 | 0 | 0 | 0
TD_WINTER | 冬季典型日 | 120 | S5 | 0 | 5460 | 8370 | 15 | 10420 | 0 | 0 | 4830 | 0 | 2790 | 8370 | 1 | 0 | 0 | 5000 | 0 | 9750 | 1 | 0 | 2000 | 38.4615 | 23.4615 | 0 | 323.4615 | 0 | 0 | 0 | 0 | 1 | 1 | 6751.118 | 0 | 0 | 1.4211e-14 | 0
TD_WINTER | 冬季典型日 | 120 | S5 | 1 | 5250 | 8235 | 15 | 4820 | 0 | 0 | 5175 | 0 | 2745 | 8235 | 1 | 0 | 0 | 0 | 0 | 9750 | 1 | 0 | 2000 | 38.4615 | 23.4615 | 0 | 346.9231 | 0 | 0 | 0 | 0 | 1 | 1 | 3122.878 | 0 | 0 | 0 | 0
TD_WINTER | 冬季典型日 | 120 | S5 | 2 | 5040 | 8100 | 15 | 4483.1579 | 0 | 0 | 5520 | 0 | 2700 | 8100 | 1 | 0 | 0 | 263.1579 | 0 | 10000 | 1 | 0 | 2000 | 38.4615 | 23.4615 | 0 | 370.3846 | 0 | 0 | 0 | 0 | 1 | 1 | 2904.638 | 9.0949e-13 | 0 | 0 | 0
TD_WINTER | 冬季典型日 | 120 | S5 | 3 | 4935 | 7965 | 15 | 3840 | 0 | 0 | 5750 | 0 | 2655 | 7965 | 1 | 0 | 0 | 0 | 0 | 10000 | 1 | 0 | 2000 | 38.4615 | 23.4615 | 0 | 393.8462 | 0 | 0 | 0 | 0 | 1 | 1 | 2487.936 | -4.5475e-13 | 0 | 0 | 0
TD_WINTER | 冬季典型日 | 120 | S5 | 4 | 5040 | 7830 | 20 | 1670 | 0 | 0 | 5980 | 0 | 2610 | 7830 | 1 | 0 | 0 | 0 | 0 | 10000 | 1 | 0 | 0 | 0 | 0 | 20 | 373.8462 | 0 | 0 | 0 | 0 | 1 | 1 | 1081.993 | -4.5475e-13 | 0 | 0 | 0
TD_WINTER | 冬季典型日 | 120 | S5 | 5 | 5460 | 8100 | 25 | 2298 | 112 | 0 | 5750 | 0 | 2700 | 8100 | 1 | 0 | 0 | 0 | 0 | 10000 | 1 | 0 | 0 | 0 | 0 | 25 | 348.8462 | 0 | 0 | 0 | 0 | 1 | 1 | 1488.8742 | -4.5475e-13 | 0 | 0 | 0
TD_WINTER | 冬季典型日 | 120 | S5 | 6 | 6510 | 8775 | 40 | 0 | 672 | 0 | 5290 | 0 | 2925 | 8775 | 1 | 0 | 0 | 0 | 4500 | 5263.1579 | 0 | 1 | 1027 | 19.75 | 0 | 20.25 | 328.5962 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | -2.2737e-13 | 0 | 0 | 0
TD_WINTER | 冬季典型日 | 120 | S5 | 7 | 7350 | 9450 | 50 | 0 | 1680 | 0 | 4600 | 0 | 3000 | 9000 | 1 | 450 | 49.9113 | 0 | 5000 | 0 | 0 | 1 | 930 | 17.8846 | 0 | 32.1154 | 296.4808 | 0 | 0 | 0 | 0 | 1 | 1 | 107.8083 | 1.1369e-13 | 0 | 0 | 0
TD_WINTER | 冬季典型日 | 120 | S5 | 8 | 7980 | 9180 | 55 | 3760 | 3080 | 0 | 4140 | 0 | 3000 | 9000 | 1 | 180 | 19.9645 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 55 | 241.4808 | 0 | 0 | 0 | 0 | 1 | 1 | 2479.2273 | 0 | 0 | 0 | 0
TD_WINTER | 冬季典型日 | 120 | S5 | 9 | 8505 | 8100 | 55 | 3325 | 4200 | 0 | 3680 | 0 | 2700 | 8100 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 55 | 186.4808 | 0 | 0 | 0 | 0 | 1 | 1 | 2154.2675 | -4.5475e-13 | 0 | 0 | 0
TD_WINTER | 冬季典型日 | 120 | S5 | 10 | 8715 | 7020 | 45 | 2677 | 4928 | 0 | 3450 | 0 | 2340 | 7020 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 45 | 141.4808 | 0 | 0 | 0 | 0 | 1 | 1 | 1734.4283 | -4.5475e-13 | 0 | -2.8422e-14 | 0
TD_WINTER | 冬季典型日 | 120 | S5 | 11 | 8610 | 6480 | 35 | 9230 | 5320 | 0 | 3220 | 0 | 2160 | 6480 | 1 | 0 | 0 | 5000 | 0 | 4750 | 1 | 0 | 2000 | 38.4615 | 3.4615 | 0 | 144.9423 | 0 | 0 | 0 | 0 | 1 | 1 | 5980.117 | 0 | 0 | 0 | 0
TD_WINTER | 冬季典型日 | 120 | S5 | 12 | 8400 | 6210 | 30 | 3980 | 5040 | 0 | 3450 | 0 | 2070 | 6210 | 1 | 0 | 0 | 0 | 0 | 4750 | 1 | 0 | 2000 | 38.4615 | 8.4615 | 0 | 153.4038 | 0 | 0 | 0 | 0 | 1 | 1 | 2578.642 | 0 | 0 | 0 | 0
TD_WINTER | 冬季典型日 | 120 | S5 | 13 | 8295 | 6210 | 30 | 4087 | 4368 | 0 | 3910 | 0 | 2070 | 6210 | 1 | 0 | 0 | 0 | 0 | 4750 | 1 | 0 | 2000 | 38.4615 | 8.4615 | 0 | 161.8654 | 0 | 0 | 0 | 0 | 1 | 1 | 2647.9673 | 0 | 0 | 0 | 0
TD_WINTER | 冬季典型日 | 120 | S5 | 14 | 8400 | 6480 | 35 | 5468.3158 | 3248 | 0 | 4370 | 0 | 2160 | 6480 | 1 | 0 | 0 | 526.3158 | 0 | 5250 | 1 | 0 | 2000 | 38.4615 | 3.4615 | 0 | 165.3269 | 0 | 0 | 0 | 0 | 1 | 1 | 3542.9218 | -9.0949e-13 | 0 | 0 | 0
TD_WINTER | 冬季典型日 | 120 | S5 | 15 | 8715 | 7020 | 40 | 11265 | 1960 | -2.2737e-13 | 4830 | 0 | 2340 | 7020 | 1 | 0 | 0 | 5000 | 0 | 10000 | 1 | 0 | 2000 | 38.4615 | 0 | 1.5385 | 163.7885 | 0 | 0 | 0 | 0 | 1 | 1 | 7298.5935 | 0 | 0 | 0 | 0
TD_WINTER | 冬季典型日 | 120 | S5 | 16 | 9030 | 7695 | 50 | 7863 | 672 | 0 | 5060 | 0 | 2565 | 7695 | 1 | 0 | 0 | 0 | 0 | 10000 | 1 | 0 | 2000 | 38.4615 | 0 | 11.5385 | 152.25 | 0 | 0 | 0 | 0 | 1 | 1 | 5094.4377 | -4.5475e-13 | 0 | 0 | 0
TD_WINTER | 冬季典型日 | 120 | S5 | 17 | 9450 | 8640 | 60 | 8776 | 112 | 0 | 5405 | 0 | 2880 | 8640 | 1 | 0 | 0 | 0 | 0 | 10000 | 1 | 0 | 1963 | 37.75 | 0 | 22.25 | 130 | 0 | 0 | 0 | 0 | 1 | 1 | 5685.9704 | 6.8212e-13 | 0 | 0 | 0
TD_WINTER | 冬季典型日 | 120 | S5 | 18 | 9240 | 9450 | 50 | 1490 | 0 | 0 | 5750 | 0 | 3000 | 9000 | 1 | 450 | 49.9113 | 0 | 5000 | 4736.8421 | 0 | 1 | 0 | 0 | 0 | 50 | 80 | 0 | 0 | 0 | 0 | 1 | 1 | 1073.1793 | 0 | 0 | 0 | 0
TD_WINTER | 冬季典型日 | 120 | S5 | 19 | 8610 | 9720 | 35 | 1130 | 0 | 0 | 5980 | 0 | 3000 | 9000 | 1 | 720 | 79.858 | 0 | 4500 | 0 | 0 | 1 | 0 | 0 | 0 | 35 | 45 | 0 | 0 | 0 | 0 | 1 | 1 | 904.6203 | 0 | 0 | 0 | 0
TD_WINTER | 冬季典型日 | 120 | S5 | 20 | 7770 | 9450 | 25 | 4445 | 0 | 0 | 6325 | 0 | 3000 | 9000 | 1 | 450 | 49.9113 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 25 | 20 | 0 | 0 | 0 | 0 | 1 | 1 | 2987.7238 | 0 | 0 | 0 | 0
TD_WINTER | 冬季典型日 | 120 | S5 | 21 | 6825 | 9180 | 20 | 3615 | 0 | 0 | 6210 | 0 | 3000 | 9000 | 1 | 180 | 19.9645 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 20 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 2385.2818 | 0 | 0 | 0 | 0
TD_WINTER | 冬季典型日 | 120 | S5 | 22 | 6090 | 8775 | 15 | 9045 | 0 | 0 | 5750 | 0 | 2925 | 8775 | 1 | 0 | 0 | 5000 | 0 | 4750 | 1 | 0 | 780 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 5860.2555 | 0 | 0 | 0 | 0
TD_WINTER | 冬季典型日 | 120 | S5 | 23 | 5670 | 8505 | 15 | 4258.1579 | 0 | 0 | 5290 | 0 | 2835 | 8505 | 1 | 0 | 0 | 263.1579 | 0 | 5000 | 1 | 0 | 780 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 2758.8605 | 1.3642e-12 | 0 | 0 | 0
TD_TRANSITION | 过渡季典型日 | 125 | S5 | 0 | 5200 | 5580 | 15 | 4860 | 0 | 0 | 4200 | 0 | 1860 | 5580 | 1 | 0 | 0 | 0 | 0 | 5000 | 1 | 0 | 2000 | 38.4615 | 23.4615 | 0 | 323.4615 | 0 | 0 | 0 | 0 | 1 | 1 | 3148.794 | 0 | 0 | 1.4211e-14 | 0
TD_TRANSITION | 过渡季典型日 | 125 | S5 | 1 | 5000 | 5490 | 15 | 4593.1579 | 0 | 0 | 4500 | 0 | 1830 | 5490 | 1 | 0 | 0 | 263.1579 | 0 | 5250 | 1 | 0 | 2000 | 38.4615 | 23.4615 | 0 | 346.9231 | 0 | 0 | 0 | 0 | 1 | 1 | 2975.907 | 1.3642e-12 | 0 | 0 | 0
TD_TRANSITION | 过渡季典型日 | 125 | S5 | 2 | 4800 | 5400 | 15 | 8800 | 0 | 0 | 4800 | 0 | 1800 | 5400 | 1 | 0 | 0 | 5000 | 0 | 10000 | 1 | 0 | 2000 | 38.4615 | 23.4615 | 0 | 370.3846 | 0 | 0 | 0 | 0 | 1 | 1 | 5701.52 | 0 | 0 | 0 | 0
TD_TRANSITION | 过渡季典型日 | 125 | S5 | 3 | 4700 | 5310 | 15 | 3470 | 0 | 0 | 5000 | 0 | 1770 | 5310 | 1 | 0 | 0 | 0 | 0 | 10000 | 1 | 0 | 2000 | 38.4615 | 23.4615 | 0 | 393.8462 | 0 | 0 | 0 | 0 | 1 | 1 | 2248.213 | 0 | 0 | 0 | 0
TD_TRANSITION | 过渡季典型日 | 125 | S5 | 4 | 4800 | 5220 | 20 | 0 | 0 | 0 | 5200 | 0 | 1740 | 5220 | 1 | 0 | 0 | 0 | 1340 | 8589.4737 | 0 | 1 | 0 | 0 | 0 | 20 | 373.8462 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
TD_TRANSITION | 过渡季典型日 | 125 | S5 | 5 | 5200 | 5400 | 25 | 710 | 160 | 0 | 5000 | 0 | 1800 | 5400 | 1 | 0 | 0 | 0 | 1130 | 7400 | 0 | 1 | 0 | 0 | 0 | 25 | 348.8462 | 0 | 0 | 0 | 0 | 1 | 1 | 460.009 | 0 | 0 | 0 | 0
TD_TRANSITION | 过渡季典型日 | 125 | S5 | 6 | 6200 | 5850 | 40 | 0 | 960 | 0 | 4600 | 0 | 1950 | 5850 | 1 | 0 | 0 | 0 | 2590 | 4673.6842 | 0 | 1 | 0 | 0 | 0 | 40 | 308.8462 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
TD_TRANSITION | 过渡季典型日 | 125 | S5 | 7 | 7000 | 6300 | 50 | 0 | 2400 | 0 | 4000 | 0 | 2100 | 6300 | 1 | 0 | 0 | 0 | 2700 | 1831.5789 | 0 | 1 | 0 | 0 | 0 | 50 | 258.8462 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
TD_TRANSITION | 过渡季典型日 | 125 | S5 | 8 | 7600 | 6120 | 55 | 1640 | 4400 | 0 | 3600 | 0 | 2040 | 6120 | 1 | 0 | 0 | 0 | 0 | 1831.5789 | 1 | -5.7844e-16 | 0 | 0 | 0 | 55 | 203.8462 | 0 | 0 | 0 | 0 | 1 | 1 | 1062.556 | 0 | 0 | 0 | 0
TD_TRANSITION | 过渡季典型日 | 125 | S5 | 9 | 8100 | 5400 | 55 | 700 | 6000 | 0 | 3200 | 0 | 1800 | 5400 | 1 | 0 | 0 | 0 | -4.3201e-13 | 1831.5789 | 1 | 0 | 0 | 0 | 0 | 55 | 148.8462 | 0 | 0 | 0 | 0 | 1 | 1 | 453.53 | 0 | 0 | 0 | 0
TD_TRANSITION | 过渡季典型日 | 125 | S5 | 10 | 8300 | 4680 | 45 | 0 | 7040 | 0 | 3000 | 0 | 1560 | 4680 | 1 | 0 | 0 | 0 | 1740 | 0 | -2.2204e-15 | 1 | 1920 | 36.9231 | 0 | 8.0769 | 140.7692 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 4.5475e-13 | 0 | 0 | 0
TD_TRANSITION | 过渡季典型日 | 125 | S5 | 11 | 8200 | 4320 | 35 | 1240 | 7600 | 0 | 2800 | 0 | 1440 | 4320 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2000 | 38.4615 | 3.4615 | 0 | 144.2308 | 0 | 0 | 0 | 0 | 1 | 1 | 803.396 | 0 | 0 | 0 | 0
TD_TRANSITION | 过渡季典型日 | 125 | S5 | 12 | 8000 | 4140 | 30 | 1706.3158 | 7200 | 0 | 3000 | 0 | 1380 | 4140 | 1 | 0 | 0 | 526.3158 | 0 | 500 | 1 | 0 | 2000 | 38.4615 | 8.4615 | 0 | 152.6923 | 0 | 0 | 0 | 0 | 1 | 1 | 1105.522 | -9.0949e-13 | 0 | 0 | 0
TD_TRANSITION | 过渡季典型日 | 125 | S5 | 13 | 7900 | 4140 | 30 | 1640 | 6240 | 0 | 3400 | 0 | 1380 | 4140 | 1 | 0 | 0 | 0 | 0 | 500 | 1 | 0 | 2000 | 38.4615 | 8.4615 | 0 | 161.1538 | 0 | 0 | 0 | 0 | 1 | 1 | 1062.556 | 0 | 0 | 0 | 0
TD_TRANSITION | 过渡季典型日 | 125 | S5 | 14 | 8000 | 4320 | 35 | 8000 | 4640 | 0 | 3800 | 0 | 1440 | 4320 | 1 | 0 | 0 | 5000 | 0 | 5250 | 1 | 0 | 2000 | 38.4615 | 3.4615 | 0 | 164.6154 | 0 | 0 | 0 | 0 | 1 | 1 | 5183.2 | 0 | 0 | 0 | 0
TD_TRANSITION | 过渡季典型日 | 125 | S5 | 15 | 8300 | 4680 | 40 | 9860 | 2800 | 0 | 4200 | 0 | 1560 | 4680 | 1 | 0 | 0 | 5000 | 0 | 10000 | 1 | 0 | 2000 | 38.4615 | 0 | 1.5385 | 163.0769 | 0 | 0 | 0 | 0 | 1 | 1 | 6388.294 | 0 | 0 | 0 | 0
TD_TRANSITION | 过渡季典型日 | 125 | S5 | 16 | 8600 | 5130 | 50 | 6950 | 960 | 0 | 4400 | 0 | 1710 | 5130 | 1 | 0 | 0 | 0 | 0 | 10000 | 1 | 0 | 2000 | 38.4615 | 0 | 11.5385 | 151.5385 | 0 | 0 | 0 | 0 | 1 | 1 | 4502.905 | 0 | 0 | 0 | 0
TD_TRANSITION | 过渡季典型日 | 125 | S5 | 17 | 9000 | 5760 | 60 | 8060 | 160 | 0 | 4700 | 0 | 1920 | 5760 | 1 | 0 | 0 | 0 | 0 | 10000 | 1 | 0 | 2000 | 38.4615 | 0 | 21.5385 | 130 | 0 | 0 | 0 | 0 | 1 | 1 | 5222.074 | 0 | 0 | 0 | 0
TD_TRANSITION | 过渡季典型日 | 125 | S5 | 18 | 8800 | 6300 | 50 | 5400 | 0 | 0 | 5000 | 0 | 2100 | 6300 | 1 | 0 | 0 | 0 | 500 | 9473.6842 | 6.6613e-15 | 1 | 0 | 0 | 0 | 50 | 80 | 0 | 0 | 0 | 0 | 1 | 1 | 3498.66 | 0 | 0 | 0 | 0
TD_TRANSITION | 过渡季典型日 | 125 | S5 | 19 | 8200 | 6480 | 35 | 160 | 0 | 0 | 5200 | 0 | 2160 | 6480 | 1 | 0 | 0 | 0 | 5000 | 4210.5263 | 0 | 1 | 0 | 0 | 0 | 35 | 45 | 0 | 0 | 0 | 0 | 1 | 1 | 103.664 | 0 | 0 | 0 | 0
TD_TRANSITION | 过渡季典型日 | 125 | S5 | 20 | 7400 | 6300 | 25 | 2.7285e-12 | 0 | 0 | 5500 | 0 | 2100 | 6300 | 1 | 0 | 0 | 0 | 4000 | 3.1415e-12 | 6.6613e-16 | 1 | 0 | 0 | 0 | 25 | 20 | 0 | 0 | 0 | 0 | 1 | 1 | 1.7678e-12 | 0 | 0 | 0 | 0
TD_TRANSITION | 过渡季典型日 | 125 | S5 | 21 | 6500 | 6120 | 20 | 3140 | 0 | 0 | 5400 | 0 | 2040 | 6120 | 1 | 0 | 0 | 0 | 2.9845e-12 | 0 | 1 | 5.9689e-16 | 0 | 0 | 0 | 20 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 2034.406 | 0 | 0 | 0 | 0
TD_TRANSITION | 过渡季典型日 | 125 | S5 | 22 | 5800 | 5850 | 15 | 3793.1579 | 0 | 0 | 5000 | 0 | 1950 | 5850 | 1 | 0 | 0 | 263.1579 | 0 | 250 | 1 | 0 | 780 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 2457.587 | -4.5475e-13 | 0 | 0 | 0
TD_TRANSITION | 过渡季典型日 | 125 | S5 | 23 | 5400 | 5670 | 15 | 8470 | 0 | 0 | 4600 | 0 | 1890 | 5670 | 1 | 0 | 0 | 5000 | 0 | 5000 | 1 | 0 | 780 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 5487.713 | 0 | 0 | 0 | 0