## Sheet1
scenario_id | status | total_cost_cny | grid_cost_cny | gas_cost_cny | curtailment_cost_cny | carbon_cost_cny | battery_om_cost_cny | battery_degradation_cost_cny | electrolyzer_om_cost_cny | h2_external_supply_cost_cny | h2_sale_revenue_cny | fuel_cell_om_cost_cny | carbon_cap_excess_cost_cny | grid_purchase_kwh | renewable_available_kwh | renewable_used_kwh | renewable_consumption_rate | renewable_min_consumption_rate | renewable_curtailment_kwh | gas_consumption_m3 | heat_pump_heat_kwh | gas_boiler_heat_kwh | carbon_emission_kg | battery_charge_kwh | battery_discharge_kwh | battery_soc_min_kwh | battery_soc_max_kwh | battery_terminal_delta_kwh | hydrogen_load_kg | electrolyzer_power_kwh | h2_production_kg | h2_external_supply_kg | h2_sale_kg | h2_fuel_cell_kg | fuel_cell_generation_kwh | h2_storage_min_kg | h2_storage_max_kg | max_power_balance_residual_kw | max_heat_balance_residual_kw | max_hydrogen_balance_residual_kg | max_fuel_cell_conversion_residual_kw | carbon_emission_cap_kg | carbon_cap_excess_kg
S0 | optimal | 134697.3897 | 91154.8 | 43542.5897 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 167000 | 0 | 0 | 0 | 0.9 | 0 | 14514.1966 | 0 | 144400 | 139549.9646 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 958904.1096 | 0
S1 | optimal | 60495.7497 | 15901.16 | 43542.5897 | 1052 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22860 | 154660 | 144140 | 0.93198 | 0.9 | 10520 | 14514.1966 | 0 | 144400 | 46161.6586 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 958904.1096 | 0
S2 | optimal | 53955.7343 | 8454.1368 | 43542.5897 | 217.651 | 0 | 258.8665 | 1482.4903 | 0 | 0 | 0 | 0 | 0 | 15843.1579 | 154660 | 152483.4903 | 0.98593 | 0.9 | 2176.5097 | 14514.1966 | 0 | 144400 | 41615.4466 | 13606.6482 | 12280 | 0 | 10000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.5475e-13 | 0 | 0 | 0 | 958904.1096 | 0
S3 | optimal | 61224.9426 | 15009.3463 | 43542.5897 | 0 | 0 | 332.4333 | 1850.3243 | 490.2491 | 0 | 0 | 0 | 0 | 40673.4966 | 154660 | 154660 | 1 | 0.9 | 0 | 14514.1966 | 0 | 144400 | 57703.0231 | 17473.4966 | 15769.8307 | 0 | 10000 | 0 | 790 | 26629.8307 | 490.2491 | 0 | 0 | 0 | 0 | 0 | 385.4547 | 4.5475e-13 | 0 | 2.8422e-14 | 0 | 958904.1096 | 0
S4 | optimal | 42457.9003 | 31774.5207 | 7538.537 | 0 | 0 | 400.5263 | 2254.1053 | 490.211 | 0 | 0 | 0 | 0 | 80691.4487 | 154660 | 154660 | 1 | 0.9 | 0 | 2512.8457 | 119400 | 25000 | 57707.7363 | 21052.6316 | 19000 | -9.0949e-13 | 10000 | 0 | 790 | 26498.8171 | 490.211 | 0 | 0 | 0 | 0 | 0 | 385.4547 | 1.3642e-12 | 0 | 7.1054e-15 | 0 | 958904.1096 | 0
S5 | optimal | 46058.863 | 31774.5207 | 7538.537 | 0 | 3600.9627 | 400.5263 | 2254.1053 | 490.211 | 0 | 0 | 0 | 0 | 80691.4487 | 154660 | 154660 | 1 | 0.9 | 0 | 2512.8457 | 119400 | 25000 | 57707.7363 | 21052.6316 | 19000 | -9.0949e-13 | 10000 | 0 | 790 | 26498.8171 | 490.211 | 0 | 0 | 0 | 0 | 0 | 385.4547 | 1.3642e-12 | 0 | 7.1054e-15 | 0 | 958904.1096 | 0