## Sheet1
typical_day_id | typical_day_name | weight_days | scenario_id | status | total_cost_cny | grid_cost_cny | gas_cost_cny | curtailment_cost_cny | carbon_cost_cny | battery_om_cost_cny | battery_degradation_cost_cny | electrolyzer_om_cost_cny | h2_external_supply_cost_cny | h2_sale_revenue_cny | fuel_cell_om_cost_cny | carbon_cap_excess_cost_cny | grid_purchase_kwh | renewable_available_kwh | renewable_used_kwh | renewable_consumption_rate | renewable_min_consumption_rate | renewable_curtailment_kwh | gas_consumption_m3 | heat_pump_heat_kwh | gas_boiler_heat_kwh | carbon_emission_kg | battery_charge_kwh | battery_discharge_kwh | battery_soc_min_kwh | battery_soc_max_kwh | battery_terminal_delta_kwh | hydrogen_load_kg | electrolyzer_power_kwh | h2_production_kg | h2_external_supply_kg | h2_sale_kg | h2_fuel_cell_kg | fuel_cell_generation_kwh | h2_storage_min_kg | h2_storage_max_kg | max_power_balance_residual_kw | max_heat_balance_residual_kw | max_hydrogen_balance_residual_kg | max_fuel_cell_conversion_residual_kw | carbon_emission_cap_kg | carbon_cap_excess_kg
TD_WINTER | 冬季典型日 | 120 | S5 | optimal | 60098.5731 | 42369.005 | 9839.2985 | -2.2737e-14 | 4602.1103 | 400.5263 | 2397.4219 | 490.211 | 0 | 0 | 0 | 0 | 102897.7821 | 155107 | 155107 | 1 | 0.9 | -2.2737e-13 | 3279.7662 | 162310 | 32630 | 73751.7679 | 21052.6316 | 19000 | -9.0949e-13 | 10000 | 0 | 790 | 26498.8171 | 490.211 | 0 | 0 | 0 | 0 | 0 | 385.4547 | 1.2506e-12 | 0 | 7.1054e-15 | 0 | 958904.1096 | 0