## Sheet1
scenario_id | hour | electric_load_kw | heat_load_kw | hydrogen_load_kg | grid_buy_kw | pv_used_kw | pv_curtail_kw | wind_used_kw | wind_curtail_kw | heat_pump_power_kw | heat_pump_heat_kw | is_heat_pump_on | gas_boiler_heat_kw | gas_consumption_m3 | battery_charge_kw | battery_discharge_kw | battery_soc_kwh | is_battery_charging | is_battery_discharging | electrolyzer_power_kw | h2_production_kg | h2_charge_kg | h2_discharge_kg | h2_storage_kg | h2_external_supply_kg | h2_fuel_cell_kg | fuel_cell_power_kw | is_fuel_cell_on | is_electrolyzer_on | carbon_emission_kg | power_balance_residual_kw | heat_balance_residual_kw | hydrogen_balance_residual_kg | fuel_cell_conversion_residual_kw | case_label | study_id | study_title | base_scenario_id | x_label | x_value
R5 | 0 | 5200 | 6200 | 15 | 0 | 0 | 0 | 8400 | 0 | 2066.6667 | 6200 | 1 | 0 | 0 | 0 | 866.6667 | 4087.7193 | 0 | 1 | 2000 | 38.4615 | 23.4615 | 0 | 323.4615 | 0 | 0 | 0 | 1 | 1 | 0 | -4.5475e-13 | 0 | 1.4211e-14 | 0 | 2.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 2
R5 | 1 | 5000 | 6100 | 15 | 0 | 0 | 0 | 9000 | 0 | 2033.3333 | 6100 | 1 | 0 | 0 | 0 | 33.3333 | 4052.6316 | 0 | 1 | 2000 | 38.4615 | 23.4615 | 0 | 346.9231 | 0 | 0 | 0 | 1 | 1 | 0 | -1.1369e-12 | 0 | 0 | 0 | 2.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 2
R5 | 2 | 4800 | 6000 | 15 | 0 | 0 | 0 | 8800 | 800 | 2000 | 6000 | 1 | 0 | 0 | 0 | 0 | 4052.6316 | 1 | 0 | 2000 | 38.4615 | 23.4615 | 0 | 370.3846 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 2.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 2
R5 | 3 | 4700 | 5900 | 15 | 0 | 0 | 0 | 8666.6667 | 1333.3333 | 1966.6667 | 5900 | 1 | 0 | 0 | 0 | 0 | 4052.6316 | 1 | 0 | 2000 | 38.4615 | 23.4615 | 0 | 393.8462 | 0 | 0 | 0 | 1 | 1 | 0 | -6.8212e-13 | 0 | 0 | 0 | 2.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 2
R5 | 4 | 4800 | 5800 | 20 | 0 | 0 | 0 | 8733.3333 | 1666.6667 | 1933.3333 | 5800 | 1 | 0 | 0 | 0 | 0 | 4052.6316 | 1 | 0 | 2000 | 38.4615 | 18.4615 | 0 | 412.3077 | 0 | 0 | 0 | 1 | 1 | 0 | -1.1369e-12 | 0 | 0 | 0 | 2.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 2
R5 | 5 | 5200 | 6000 | 25 | 0 | 0 | 320 | 9200 | 800 | 2000 | 6000 | 1 | 0 | 0 | 0 | 0 | 4052.6316 | 1 | 0 | 2000 | 38.4615 | 13.4615 | 0 | 425.7692 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 2.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 2
R5 | 6 | 6200 | 6500 | 40 | 0 | 1166.6667 | 753.3333 | 9200 | 0 | 2166.6667 | 6500 | 1 | 0 | 0 | 0 | 0 | 4052.6316 | 1 | 0 | 2000 | 38.4615 | 0 | 1.5385 | 424.2308 | 0 | 0 | 0 | 1 | 1 | 0 | -4.5475e-13 | 0 | 0 | 0 | 2.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 2
R5 | 7 | 7000 | 7000 | 50 | 0 | 3333.3333 | 1466.6667 | 8000 | 0 | 2333.3333 | 7000 | 1 | 0 | 0 | 0 | 0 | 4052.6316 | 1 | 0 | 2000 | 38.4615 | 0 | 11.5385 | 412.6923 | 0 | 0 | 0 | 1 | 1 | 0 | -1.3642e-12 | 0 | 0 | 0 | 2.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 2
R5 | 8 | 7600 | 6800 | 55 | 0 | 4666.6667 | 4133.3333 | 7200 | 0 | 2266.6667 | 6800 | 1 | 0 | 0 | 0 | 0 | 4052.6316 | 1 | 0 | 2000 | 38.4615 | 0 | 16.5385 | 396.1538 | 0 | 0 | 0 | 1 | 1 | 0 | -4.5475e-13 | 0 | 0 | 0 | 2.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 2
R5 | 9 | 8100 | 6000 | 55 | 0 | 5700 | 6300 | 6400 | 0 | 2000 | 6000 | 1 | 0 | 0 | 0 | 0 | 4052.6316 | 1 | 0 | 2000 | 38.4615 | 0 | 16.5385 | 379.6154 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 2.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 2
R5 | 10 | 8300 | 5200 | 45 | 0 | 6033.3333 | 8046.6667 | 6000 | 0 | 1733.3333 | 5200 | 1 | 0 | 0 | 0 | 0 | 4052.6316 | 1 | 0 | 2000 | 38.4615 | 0 | 6.5385 | 373.0769 | 0 | 0 | 0 | 1 | 1 | 0 | 6.8212e-13 | 0 | 0 | 0 | 2.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 2
R5 | 11 | 8200 | 4800 | 35 | 0 | 6200 | 9000 | 5600 | 0 | 1600 | 4800 | 1 | 0 | 0 | 0 | 0 | 4052.6316 | 1 | 0 | 2000 | 38.4615 | 3.4615 | 0 | 376.5385 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 2.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 2
R5 | 12 | 8000 | 4600 | 30 | 0 | 5533.3333 | 8866.6667 | 6000 | 0 | 1533.3333 | 4600 | 1 | 0 | 0 | 0 | 0 | 4052.6316 | 1 | 0 | 2000 | 38.4615 | 8.4615 | 0 | 385 | 0 | 0 | 0 | 1 | 1 | 0 | 6.8212e-13 | 0 | 0 | 0 | 2.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 2
R5 | 13 | 7900 | 4600 | 30 | 0 | 4633.3333 | 7846.6667 | 6800 | 0 | 1533.3333 | 4600 | 1 | 0 | 0 | 0 | 0 | 4052.6316 | 1 | 0 | 2000 | 38.4615 | 8.4615 | 0 | 393.4615 | 0 | 0 | 0 | 1 | 1 | 0 | 6.8212e-13 | 0 | 0 | 0 | 2.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 2
R5 | 14 | 8000 | 4800 | 35 | 0 | 8293.7211 | 986.2789 | 7600 | 0 | 1600 | 4800 | 1 | 0 | 0 | 4293.7211 | 0 | 8131.6667 | 1 | 0 | 2000 | 38.4615 | 3.4615 | 0 | 396.9231 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 2.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 2
R5 | 15 | 8300 | 5200 | 40 | 0 | 5600 | 0 | 8400 | 0 | 1733.3333 | 5200 | 1 | 0 | 0 | 1966.6667 | 0 | 10000 | 1 | 0 | 2000 | 38.4615 | 0 | 1.5385 | 395.3846 | 0 | 0 | 0 | 1 | 1 | 0 | 9.0949e-13 | 0 | 0 | 0 | 2.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 2
R5 | 16 | 8600 | 5700 | 50 | 0 | 1920 | 0 | 8800 | 0 | 1900 | 5700 | 1 | 0 | 0 | 0 | 0 | 10000 | 1 | 0 | 220 | 4.2308 | 0 | 45.7692 | 349.6154 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 2.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 2
R5 | 17 | 9000 | 6400 | 60 | 0 | 320 | 0 | 9400 | 0 | 2133.3333 | 6400 | 1 | 0 | 0 | 0 | 1413.3333 | 8512.2807 | 0 | 1 | 0 | 0 | 0 | 60 | 289.6154 | 0 | 0 | 0 | 1 | 1 | 0 | -1.3642e-12 | 0 | 0 | 0 | 2.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 2
R5 | 18 | 8800 | 7000 | 50 | 0 | 0 | 0 | 10000 | 0 | 2333.3333 | 7000 | 1 | 0 | 0 | 0 | 3133.3333 | 5214.0351 | 0 | 1 | 2000 | 38.4615 | 0 | 11.5385 | 278.0769 | 0 | 0 | 0 | 1 | 1 | 0 | -1.3642e-12 | 0 | 0 | 0 | 2.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 2
R5 | 19 | 8200 | 7200 | 35 | 0 | 0 | 0 | 10400 | 0 | 2400 | 7200 | 1 | 0 | 0 | 0 | 263.5 | 4936.6667 | 0 | 1 | 63.5 | 1.2212 | 0 | 33.7788 | 244.2981 | 0 | 0 | 0 | 1 | 1 | 0 | 5.6843e-14 | 0 | 0 | 0 | 2.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 2
R5 | 20 | 7400 | 7000 | 25 | 0 | 0 | 0 | 11000 | 0 | 2333.3333 | 7000 | 1 | 0 | 0 | 0 | 0 | 4936.6667 | 1 | 0 | 1266.6667 | 24.359 | 0 | 0.64103 | 243.6571 | 0 | 0 | 0 | 1 | 1 | 0 | -1.3642e-12 | 0 | 0 | 0 | 2.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 2
R5 | 21 | 6500 | 6800 | 20 | 0 | 0 | 0 | 10800 | 0 | 2266.6667 | 6800 | 1 | 0 | 0 | 33.3333 | 0 | 4968.3333 | 1 | 0 | 2000 | 38.4615 | 18.4615 | 0 | 262.1186 | 0 | 0 | 0 | 1 | 1 | 0 | -4.5475e-13 | 0 | 0 | 0 | 2.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 2
R5 | 22 | 5800 | 6500 | 15 | 0 | 0 | 0 | 10000 | 0 | 2166.6667 | 6500 | 1 | 0 | 0 | 33.3333 | 0 | 5000 | 1 | 0 | 2000 | 38.4615 | 23.4615 | 0 | 285.5801 | 0 | 0 | 0 | 1 | 1 | 0 | -4.5475e-13 | 0 | 0 | 0 | 2.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 2
R5 | 23 | 5400 | 6300 | 15 | 0 | 0 | 0 | 9200 | 0 | 2100 | 6300 | 1 | 0 | 0 | 0 | 0 | 5000 | 1 | 0 | 1700 | 32.6923 | 17.6923 | 0 | 303.2724 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 2.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 2