## Sheet1
scenario_id | hour | electric_load_kw | heat_load_kw | hydrogen_load_kg | grid_buy_kw | pv_used_kw | pv_curtail_kw | wind_used_kw | wind_curtail_kw | heat_pump_power_kw | heat_pump_heat_kw | is_heat_pump_on | gas_boiler_heat_kw | gas_consumption_m3 | battery_charge_kw | battery_discharge_kw | battery_soc_kwh | is_battery_charging | is_battery_discharging | electrolyzer_power_kw | h2_production_kg | h2_charge_kg | h2_discharge_kg | h2_storage_kg | h2_external_supply_kg | h2_fuel_cell_kg | fuel_cell_power_kw | is_fuel_cell_on | is_electrolyzer_on | carbon_emission_kg | power_balance_residual_kw | heat_balance_residual_kw | hydrogen_balance_residual_kg | fuel_cell_conversion_residual_kw | case_label | study_id | study_title | base_scenario_id | x_label | x_value
R0 | 0 | 5200 | 6200 | 15 | 6746.6667 | 0 | 0 | 2520 | 0 | 2066.6667 | 6200 | 1 | 0 | 0 | 0 | 0 | 5000 | 1 | 0 | 2000 | 38.4615 | 23.4615 | 0 | 323.4615 | 0 | 0 | 0 | 1 | 1 | 4371.1653 | -4.5475e-13 | 0 | 1.4211e-14 | 0 | 0.6 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 0.6
R0 | 1 | 5000 | 6100 | 15 | 6333.3333 | 0 | 0 | 2700 | 0 | 2033.3333 | 6100 | 1 | 0 | 0 | 0 | 0 | 5000 | 1 | 0 | 2000 | 38.4615 | 23.4615 | 0 | 346.9231 | 0 | 0 | 0 | 1 | 1 | 4103.3667 | -1.1369e-12 | 0 | 0 | 0 | 0.6 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 0.6
R0 | 2 | 4800 | 6000 | 15 | 6183.1579 | 0 | 0 | 2880 | 0 | 2000 | 6000 | 1 | 0 | 0 | 263.1579 | 0 | 5250 | 1 | 0 | 2000 | 38.4615 | 23.4615 | 0 | 370.3846 | 0 | 0 | 0 | 1 | 1 | 4006.068 | 1.3642e-12 | 0 | 0 | 0 | 0.6 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 0.6
R0 | 3 | 4700 | 5900 | 15 | 10666.6667 | 0 | 0 | 3000 | 0 | 1966.6667 | 5900 | 1 | 0 | 0 | 5000 | 0 | 10000 | 1 | 0 | 2000 | 38.4615 | 23.4615 | 0 | 393.8462 | 0 | 0 | 0 | 1 | 1 | 6910.9333 | -9.0949e-13 | 0 | 0 | 0 | 0.6 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 0.6
R0 | 4 | 4800 | 5800 | 20 | 3613.3333 | 0 | 0 | 3120 | 0 | 1933.3333 | 5800 | 1 | 0 | 0 | 0 | 0 | 10000 | 1 | 0 | 0 | 0 | 0 | 20 | 373.8462 | 0 | 0 | 0 | 1 | 1 | 2341.0787 | -2.2737e-13 | 0 | 0 | 0 | 0.6 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 0.6
R0 | 5 | 5200 | 6000 | 25 | 4104 | 96 | 0 | 3000 | 0 | 2000 | 6000 | 1 | 0 | 0 | 0 | 0 | 10000 | 1 | 0 | 0 | 0 | 0 | 25 | 348.8462 | 0 | 0 | 0 | 1 | 1 | 2658.9816 | 0 | 0 | 0 | 0 | 0.6 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 0.6
R0 | 6 | 6200 | 6500 | 40 | 30.6667 | 576 | 0 | 2760 | 0 | 2166.6667 | 6500 | 1 | 0 | 0 | 0 | 5000 | 4736.8421 | 0 | 1 | 0 | 0 | 0 | 40 | 308.8462 | 0 | 0 | 0 | 1 | 1 | 19.8689 | -4.5475e-13 | 0 | 0 | 0 | 0.6 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 0.6
R0 | 7 | 7000 | 7000 | 50 | 993.3333 | 1440 | 0 | 2400 | 0 | 2333.3333 | 7000 | 1 | 0 | 0 | 0 | 4500 | 0 | 0 | 1 | 0 | 0 | 0 | 50 | 258.8462 | 0 | 0 | 0 | 1 | 1 | 643.5807 | -1.3642e-12 | 0 | 0 | 0 | 0.6 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 0.6
R0 | 8 | 7600 | 6800 | 55 | 5066.6667 | 2640 | 0 | 2160 | 0 | 2266.6667 | 6800 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 55 | 203.8462 | 0 | 0 | 0 | 1 | 1 | 3282.6933 | -4.5475e-13 | 0 | 0 | 0 | 0.6 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 0.6
R0 | 9 | 8100 | 6000 | 55 | 4580 | 3600 | 0 | 1920 | 0 | 2000 | 6000 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 55 | 148.8462 | 0 | 0 | 0 | 1 | 1 | 2967.382 | 0 | 0 | 0 | 0 | 0.6 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 0.6
R0 | 10 | 8300 | 5200 | 45 | 5929.3333 | 4224 | 0 | 1800 | 0 | 1733.3333 | 5200 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1920 | 36.9231 | 0 | 8.0769 | 140.7692 | 0 | 0 | 0 | 1 | 1 | 3841.6151 | 1.1369e-12 | 0 | 0 | 0 | 0.6 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 0.6
R0 | 11 | 8200 | 4800 | 35 | 5560 | 4560 | 0 | 1680 | 0 | 1600 | 4800 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2000 | 38.4615 | 3.4615 | 0 | 144.2308 | 0 | 0 | 0 | 1 | 1 | 3602.324 | 0 | 0 | 0 | 0 | 0.6 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 0.6
R0 | 12 | 8000 | 4600 | 30 | 5413.3333 | 4320 | 0 | 1800 | 0 | 1533.3333 | 4600 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2000 | 38.4615 | 8.4615 | 0 | 152.6923 | 0 | 0 | 0 | 1 | 1 | 3507.2987 | 6.8212e-13 | 0 | 0 | 0 | 0.6 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 0.6
R0 | 13 | 7900 | 4600 | 30 | 6175.6491 | 3744 | 0 | 2040 | 0 | 1533.3333 | 4600 | 1 | 0 | 0 | 526.3158 | 0 | 500 | 1 | 0 | 2000 | 38.4615 | 8.4615 | 0 | 161.1538 | 0 | 0 | 0 | 1 | 1 | 4001.2031 | 1.819e-12 | 0 | 0 | 0 | 0.6 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 0.6
R0 | 14 | 8000 | 4800 | 35 | 11536 | 2784 | 0 | 2280 | 0 | 1600 | 4800 | 1 | 0 | 0 | 5000 | 0 | 5250 | 1 | 0 | 2000 | 38.4615 | 3.4615 | 0 | 164.6154 | 0 | 0 | 0 | 1 | 1 | 7474.1744 | 0 | 0 | 0 | 0 | 0.6 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 0.6
R0 | 15 | 8300 | 5200 | 40 | 12833.3333 | 1680 | 0 | 2520 | 0 | 1733.3333 | 5200 | 1 | 0 | 0 | 5000 | 0 | 10000 | 1 | 0 | 2000 | 38.4615 | 0 | 1.5385 | 163.0769 | 0 | 0 | 0 | 1 | 1 | 8314.7167 | 2.7285e-12 | 0 | 0 | 0 | 0.6 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 0.6
R0 | 16 | 8600 | 5700 | 50 | 9284 | 576 | 0 | 2640 | 0 | 1900 | 5700 | 1 | 0 | 0 | 0 | 0 | 10000 | 1 | 0 | 2000 | 38.4615 | 0 | 11.5385 | 151.5385 | 0 | 0 | 0 | 1 | 1 | 6015.1036 | 0 | 0 | 0 | 0 | 0.6 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 0.6
R0 | 17 | 9000 | 6400 | 60 | 10217.3333 | 96 | 0 | 2820 | 0 | 2133.3333 | 6400 | 1 | 0 | 0 | 0 | 0 | 10000 | 1 | 0 | 2000 | 38.4615 | 0 | 21.5385 | 130 | 0 | 0 | 0 | 1 | 1 | 6619.8103 | -1.3642e-12 | 0 | 0 | 0 | 0.6 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 0.6
R0 | 18 | 8800 | 7000 | 50 | 3133.3333 | 0 | 0 | 3000 | 0 | 2333.3333 | 7000 | 1 | 0 | 0 | 0 | 5000 | 4736.8421 | 0 | 1 | 0 | 0 | 0 | 50 | 80 | 0 | 0 | 0 | 1 | 1 | 2030.0867 | -1.3642e-12 | 0 | 0 | 0 | 0.6 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 0.6
R0 | 19 | 8200 | 7200 | 35 | 7480 | 0 | 0 | 3120 | 0 | 2400 | 7200 | 1 | 0 | 0 | 0 | 0 | 4736.8421 | 1 | 0 | 0 | 0 | 0 | 35 | 45 | 0 | 0 | 0 | 1 | 1 | 4846.292 | 0 | 0 | 0 | 0 | 0.6 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 0.6
R0 | 20 | 7400 | 7000 | 25 | 1933.3333 | 0 | 0 | 3300 | 0 | 2333.3333 | 7000 | 1 | 0 | 0 | 0 | 4500 | 0 | 0 | 1 | 0 | 0 | 0 | 25 | 20 | 0 | 0 | 0 | 1 | 1 | 1252.6067 | -1.3642e-12 | 0 | 0 | 0 | 0.6 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 0.6
R0 | 21 | 6500 | 6800 | 20 | 5526.6667 | 0 | 0 | 3240 | 0 | 2266.6667 | 6800 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 20 | 0 | 0 | 0 | 0 | 1 | 1 | 3580.7273 | -4.5475e-13 | 0 | 0 | 0 | 0.6 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 0.6
R0 | 22 | 5800 | 6500 | 15 | 10746.6667 | 0 | 0 | 3000 | 0 | 2166.6667 | 6500 | 1 | 0 | 0 | 5000 | 0 | 4750 | 1 | 0 | 780 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 6962.7653 | 0 | 0 | 0 | 0 | 0.6 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 0.6
R0 | 23 | 5400 | 6300 | 15 | 5783.1579 | 0 | 0 | 2760 | 0 | 2100 | 6300 | 1 | 0 | 0 | 263.1579 | 0 | 5000 | 1 | 0 | 780 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 3746.908 | 1.3642e-12 | 0 | 0 | 0 | 0.6 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 0.6
R1 | 0 | 5200 | 6200 | 15 | 10906.6667 | 0 | 0 | 3360 | 0 | 2066.6667 | 6200 | 1 | 0 | 0 | 5000 | 0 | 9750 | 1 | 0 | 2000 | 38.4615 | 23.4615 | 0 | 323.4615 | 0 | 0 | 0 | 1 | 1 | 7066.4293 | 0 | 0 | 1.4211e-14 | 0 | 0.8 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 0.8
R1 | 1 | 5000 | 6100 | 15 | 5433.3333 | 0 | 0 | 3600 | 0 | 2033.3333 | 6100 | 1 | 0 | 0 | 0 | 0 | 9750 | 1 | 0 | 2000 | 38.4615 | 23.4615 | 0 | 346.9231 | 0 | 0 | 0 | 1 | 1 | 3520.2567 | -1.1369e-12 | 0 | 0 | 0 | 0.8 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 0.8
R1 | 2 | 4800 | 6000 | 15 | 4960 | 0 | 0 | 3840 | 0 | 2000 | 6000 | 1 | 0 | 0 | 0 | 0 | 9750 | 1 | 0 | 2000 | 38.4615 | 23.4615 | 0 | 370.3846 | 0 | 0 | 0 | 1 | 1 | 3213.584 | 0 | 0 | 0 | 0 | 0.8 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 0.8
R1 | 3 | 4700 | 5900 | 15 | 4929.8246 | 0 | 0 | 4000 | 0 | 1966.6667 | 5900 | 1 | 0 | 0 | 263.1579 | 0 | 10000 | 1 | 0 | 2000 | 38.4615 | 23.4615 | 0 | 393.8462 | 0 | 0 | 0 | 1 | 1 | 3194.0333 | -1.3642e-12 | 0 | 0 | 0 | 0.8 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 0.8
R1 | 4 | 4800 | 5800 | 20 | 2573.3333 | 0 | 0 | 4160 | 0 | 1933.3333 | 5800 | 1 | 0 | 0 | 0 | 0 | 10000 | 1 | 0 | 0 | 0 | 0 | 20 | 373.8462 | 0 | 0 | 0 | 1 | 1 | 1667.2627 | -2.2737e-13 | 0 | 0 | 0 | 0.8 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 0.8
R1 | 5 | 5200 | 6000 | 25 | 3072 | 128 | 0 | 4000 | 0 | 2000 | 6000 | 1 | 0 | 0 | 0 | 0 | 10000 | 1 | 0 | 0 | 0 | 0 | 25 | 348.8462 | 0 | 0 | 0 | 1 | 1 | 1990.3488 | 0 | 0 | 0 | 0 | 0.8 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 0.8
R1 | 6 | 6200 | 6500 | 40 | 0 | 768 | 0 | 3680 | 0 | 2166.6667 | 6500 | 1 | 0 | 0 | 0 | 4500 | 5263.1579 | 0 | 1 | 581.3333 | 11.1795 | 0 | 28.8205 | 320.0256 | 0 | 0 | 0 | 1 | 1 | 0 | -4.5475e-13 | 0 | 0 | 0 | 0.8 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 0.8
R1 | 7 | 7000 | 7000 | 50 | 0 | 1920 | 0 | 3200 | 0 | 2333.3333 | 7000 | 1 | 0 | 0 | 0 | 5000 | 0 | 0 | 1 | 786.6667 | 15.1282 | 0 | 34.8718 | 285.1538 | 0 | 0 | 0 | 1 | 1 | 0 | -1.3642e-12 | 0 | 0 | 0 | 0.8 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 0.8
R1 | 8 | 7600 | 6800 | 55 | 3466.6667 | 3520 | 0 | 2880 | 0 | 2266.6667 | 6800 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 55 | 230.1538 | 0 | 0 | 0 | 1 | 1 | 2246.0533 | -4.5475e-13 | 0 | 0 | 0 | 0.8 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 0.8
R1 | 9 | 8100 | 6000 | 55 | 2740 | 4800 | 0 | 2560 | 0 | 2000 | 6000 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 55 | 175.1538 | 0 | 0 | 0 | 1 | 1 | 1775.246 | 0 | 0 | 0 | 0 | 0.8 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 0.8
R1 | 10 | 8300 | 5200 | 45 | 2553.3333 | 5632 | 0 | 2400 | 0 | 1733.3333 | 5200 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 552 | 10.6154 | 0 | 34.3846 | 140.7692 | 0 | 0 | 0 | 1 | 1 | 1654.3047 | 1.819e-12 | 0 | 0 | 0 | 0.8 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 0.8
R1 | 11 | 8200 | 4800 | 35 | 4006.3158 | 6080 | 0 | 2240 | 0 | 1600 | 4800 | 1 | 0 | 0 | 526.3158 | 0 | 500 | 1 | 0 | 2000 | 38.4615 | 3.4615 | 0 | 144.2308 | 0 | 0 | 0 | 1 | 1 | 2595.692 | -9.0949e-13 | 0 | 0 | 0 | 0.8 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 0.8
R1 | 12 | 8000 | 4600 | 30 | 3373.3333 | 5760 | 0 | 2400 | 0 | 1533.3333 | 4600 | 1 | 0 | 0 | 0 | 0 | 500 | 1 | 0 | 2000 | 38.4615 | 8.4615 | 0 | 152.6923 | 0 | 0 | 0 | 1 | 1 | 2185.5827 | 6.8212e-13 | 0 | 0 | 0 | 0.8 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 0.8
R1 | 13 | 7900 | 4600 | 30 | 8721.3333 | 4992 | 0 | 2720 | 0 | 1533.3333 | 4600 | 1 | 0 | 0 | 5000 | 0 | 5250 | 1 | 0 | 2000 | 38.4615 | 8.4615 | 0 | 161.1538 | 0 | 0 | 0 | 1 | 1 | 5650.5519 | 2.7285e-12 | 0 | 0 | 0 | 0.8 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 0.8
R1 | 14 | 8000 | 4800 | 35 | 4848 | 3712 | 0 | 3040 | 0 | 1600 | 4800 | 1 | 0 | 0 | 0 | 0 | 5250 | 1 | 0 | 2000 | 38.4615 | 3.4615 | 0 | 164.6154 | 0 | 0 | 0 | 1 | 1 | 3141.0192 | 0 | 0 | 0 | 0 | 0.8 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 0.8
R1 | 15 | 8300 | 5200 | 40 | 11433.3333 | 2240 | 0 | 3360 | 0 | 1733.3333 | 5200 | 1 | 0 | 0 | 5000 | 0 | 10000 | 1 | 0 | 2000 | 38.4615 | 0 | 1.5385 | 163.0769 | 0 | 0 | 0 | 1 | 1 | 7407.6567 | 2.7285e-12 | 0 | 0 | 0 | 0.8 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 0.8
R1 | 16 | 8600 | 5700 | 50 | 8212 | 768 | 0 | 3520 | 0 | 1900 | 5700 | 1 | 0 | 0 | 0 | 0 | 10000 | 1 | 0 | 2000 | 38.4615 | 0 | 11.5385 | 151.5385 | 0 | 0 | 0 | 1 | 1 | 5320.5548 | 0 | 0 | 0 | 0 | 0.8 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 0.8
R1 | 17 | 9000 | 6400 | 60 | 9245.3333 | 128 | 0 | 3760 | 0 | 2133.3333 | 6400 | 1 | 0 | 0 | 0 | 0 | 10000 | 1 | 0 | 2000 | 38.4615 | 0 | 21.5385 | 130 | 0 | 0 | 0 | 1 | 1 | 5990.0515 | -1.3642e-12 | 0 | 0 | 0 | 0.8 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 0.8
R1 | 18 | 8800 | 7000 | 50 | 2133.3333 | 0 | 0 | 4000 | 0 | 2333.3333 | 7000 | 1 | 0 | 0 | 0 | 5000 | 4736.8421 | 0 | 1 | 0 | 0 | 0 | 50 | 80 | 0 | 0 | 0 | 1 | 1 | 1382.1867 | -1.3642e-12 | 0 | 0 | 0 | 0.8 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 0.8
R1 | 19 | 8200 | 7200 | 35 | 6440 | 0 | 0 | 4160 | 0 | 2400 | 7200 | 1 | 0 | 0 | 0 | 0 | 4736.8421 | 1 | 0 | 0 | 0 | 0 | 35 | 45 | 0 | 0 | 0 | 1 | 1 | 4172.476 | 0 | 0 | 0 | 0 | 0.8 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 0.8
R1 | 20 | 7400 | 7000 | 25 | 833.3333 | 0 | 0 | 4400 | 0 | 2333.3333 | 7000 | 1 | 0 | 0 | 0 | 4500 | 0 | 0 | 1 | 0 | 0 | 0 | 25 | 20 | 0 | 0 | 0 | 1 | 1 | 539.9167 | -1.3642e-12 | 0 | 0 | 0 | 0.8 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 0.8
R1 | 21 | 6500 | 6800 | 20 | 4446.6667 | 0 | 0 | 4320 | 0 | 2266.6667 | 6800 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 20 | 0 | 0 | 0 | 0 | 1 | 1 | 2880.9953 | -4.5475e-13 | 0 | 0 | 0 | 0.8 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 0.8
R1 | 22 | 5800 | 6500 | 15 | 9746.6667 | 0 | 0 | 4000 | 0 | 2166.6667 | 6500 | 1 | 0 | 0 | 5000 | 0 | 4750 | 1 | 0 | 780 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 6314.8653 | 0 | 0 | 0 | 0 | 0.8 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 0.8
R1 | 23 | 5400 | 6300 | 15 | 4863.1579 | 0 | 0 | 3680 | 0 | 2100 | 6300 | 1 | 0 | 0 | 263.1579 | 0 | 5000 | 1 | 0 | 780 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 3150.84 | 1.3642e-12 | 0 | 0 | 0 | 0.8 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 0.8
R2 | 0 | 5200 | 6200 | 15 | 5066.6667 | 0 | 0 | 4200 | 0 | 2066.6667 | 6200 | 1 | 0 | 0 | 0 | 0 | 5000 | 1 | 0 | 2000 | 38.4615 | 23.4615 | 0 | 323.4615 | 0 | 0 | 0 | 1 | 1 | 3282.6933 | -4.5475e-13 | 0 | 1.4211e-14 | 0 | 1.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1
R2 | 1 | 5000 | 6100 | 15 | 4533.3333 | 0 | 0 | 4500 | 0 | 2033.3333 | 6100 | 1 | 0 | 0 | 0 | 0 | 5000 | 1 | 0 | 2000 | 38.4615 | 23.4615 | 0 | 346.9231 | 0 | 0 | 0 | 1 | 1 | 2937.1467 | -1.1369e-12 | 0 | 0 | 0 | 1.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1
R2 | 2 | 4800 | 6000 | 15 | 4263.1579 | 0 | 0 | 4800 | 0 | 2000 | 6000 | 1 | 0 | 0 | 263.1579 | 0 | 5250 | 1 | 0 | 2000 | 38.4615 | 23.4615 | 0 | 370.3846 | 0 | 0 | 0 | 1 | 1 | 2762.1 | 1.3642e-12 | 0 | 0 | 0 | 1.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1
R2 | 3 | 4700 | 5900 | 15 | 8666.6667 | 0 | 0 | 5000 | 0 | 1966.6667 | 5900 | 1 | 0 | 0 | 5000 | 0 | 10000 | 1 | 0 | 2000 | 38.4615 | 23.4615 | 0 | 393.8462 | 0 | 0 | 0 | 1 | 1 | 5615.1333 | -9.0949e-13 | 0 | 0 | 0 | 1.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1
R2 | 4 | 4800 | 5800 | 20 | 0 | 0 | 0 | 5200 | 0 | 1933.3333 | 5800 | 1 | 0 | 0 | 0 | 1533.3333 | 8385.9649 | 0 | 1 | 0 | 0 | 0 | 20 | 373.8462 | 0 | 0 | 0 | 1 | 1 | 0 | -2.2737e-13 | 0 | 0 | 0 | 1.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1
R2 | 5 | 5200 | 6000 | 25 | 5.0772e-13 | 160 | 0 | 5000 | 0 | 2000 | 6000 | 1 | 0 | 0 | 0 | 2040 | 6238.5965 | 2.2204e-16 | 1 | 0 | 0 | 0 | 25 | 348.8462 | 0 | 0 | 0 | 1 | 1 | 3.2895e-13 | 0 | 0 | 0 | 0 | 1.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1
R2 | 6 | 6200 | 6500 | 40 | 0 | 960 | 0 | 4600 | 0 | 2166.6667 | 6500 | 1 | 0 | 0 | 0 | 2806.6667 | 3284.2105 | 0 | 1 | 0 | 0 | 0 | 40 | 308.8462 | 0 | 0 | 0 | 1 | 1 | 0 | -4.5475e-13 | 0 | 0 | 0 | 1.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1
R2 | 7 | 7000 | 7000 | 50 | 0 | 2400 | 0 | 4000 | 0 | 2333.3333 | 7000 | 1 | 0 | 0 | 0 | 3120 | 5.3445e-13 | 0 | 1 | 186.6667 | 3.5897 | 0 | 46.4103 | 262.4359 | 0 | 0 | 0 | 1 | 1 | 0 | -9.0949e-13 | 0 | 0 | 0 | 1.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1
R2 | 8 | 7600 | 6800 | 55 | 1866.6667 | 4400 | 0 | 3600 | 0 | 2266.6667 | 6800 | 1 | 0 | 0 | 0 | 0 | 5.3445e-13 | 1 | 0 | 0 | 0 | 0 | 55 | 207.4359 | 0 | 0 | 0 | 1 | 1 | 1209.4133 | -4.5475e-13 | 0 | 0 | 0 | 1.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1
R2 | 9 | 8100 | 6000 | 55 | 900 | 6000 | 0 | 3200 | 0 | 2000 | 6000 | 1 | 0 | 0 | 0 | 5.0772e-13 | 0 | 1 | 0 | 0 | 0 | 0 | 55 | 152.4359 | 0 | 0 | 0 | 1 | 1 | 583.11 | 0 | 0 | 0 | 0 | 1.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1
R2 | 10 | 8300 | 5200 | 45 | 1726.6667 | 7040 | 0 | 3000 | 0 | 1733.3333 | 5200 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1733.3333 | 33.3333 | 0 | 11.6667 | 140.7692 | 0 | 0 | 0 | 1 | 1 | 1118.7073 | 1.1369e-12 | 0 | 0 | 0 | 1.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1
R2 | 11 | 8200 | 4800 | 35 | 1400 | 7600 | 0 | 2800 | 0 | 1600 | 4800 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2000 | 38.4615 | 3.4615 | 0 | 144.2308 | 0 | 0 | 0 | 1 | 1 | 907.06 | 0 | 0 | 0 | 0 | 1.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1
R2 | 12 | 8000 | 4600 | 30 | 1333.3333 | 7200 | 0 | 3000 | 0 | 1533.3333 | 4600 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2000 | 38.4615 | 8.4615 | 0 | 152.6923 | 0 | 0 | 0 | 1 | 1 | 863.8667 | 6.8212e-13 | 0 | 0 | 0 | 1.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1
R2 | 13 | 7900 | 4600 | 30 | 6793.3333 | 6240 | 0 | 3400 | 0 | 1533.3333 | 4600 | 1 | 0 | 0 | 5000 | 0 | 4750 | 1 | 0 | 2000 | 38.4615 | 8.4615 | 0 | 161.1538 | 0 | 0 | 0 | 1 | 1 | 4401.4007 | 2.7285e-12 | 0 | 0 | 0 | 1.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1
R2 | 14 | 8000 | 4800 | 35 | 8160 | 4640 | 0 | 3800 | 0 | 1600 | 4800 | 1 | 0 | 0 | 5000 | 0 | 9500 | 1 | 0 | 2000 | 38.4615 | 3.4615 | 0 | 164.6154 | 0 | 0 | 0 | 1 | 1 | 5286.864 | 0 | 0 | 0 | 0 | 1.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1
R2 | 15 | 8300 | 5200 | 40 | 5559.6491 | 2800 | 0 | 4200 | 0 | 1733.3333 | 5200 | 1 | 0 | 0 | 526.3158 | 0 | 10000 | 1 | 0 | 2000 | 38.4615 | 0 | 1.5385 | 163.0769 | 0 | 0 | 0 | 1 | 1 | 3602.0967 | 1.819e-12 | 0 | 0 | 0 | 1.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1
R2 | 16 | 8600 | 5700 | 50 | 7140 | 960 | 0 | 4400 | 0 | 1900 | 5700 | 1 | 0 | 0 | 0 | 0 | 10000 | 1 | 0 | 2000 | 38.4615 | 0 | 11.5385 | 151.5385 | 0 | 0 | 0 | 1 | 1 | 4626.006 | 0 | 0 | 0 | 0 | 1.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1
R2 | 17 | 9000 | 6400 | 60 | 8273.3333 | 160 | 0 | 4700 | 0 | 2133.3333 | 6400 | 1 | 0 | 0 | 0 | 0 | 10000 | 1 | 0 | 2000 | 38.4615 | 0 | 21.5385 | 130 | 0 | 0 | 0 | 1 | 1 | 5360.2927 | -1.3642e-12 | 0 | 0 | 0 | 1.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1
R2 | 18 | 8800 | 7000 | 50 | 6133.3333 | 0 | 0 | 5000 | 0 | 2333.3333 | 7000 | 1 | 0 | 0 | 0 | -3.948e-12 | 10000 | 1 | -7.896e-16 | 0 | 0 | 0 | 50 | 80 | 0 | 0 | 0 | 1 | 1 | 3973.7867 | -1.3642e-12 | 0 | 0 | 0 | 1.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1
R2 | 19 | 8200 | 7200 | 35 | 400 | 0 | 0 | 5200 | 0 | 2400 | 7200 | 1 | 0 | 0 | 0 | 5000 | 4736.8421 | 0 | 1 | 0 | 0 | 0 | 35 | 45 | 0 | 0 | 0 | 1 | 1 | 259.16 | 0 | 0 | 0 | 0 | 1.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1
R2 | 20 | 7400 | 7000 | 25 | 3100 | 0 | 0 | 5500 | 0 | 2333.3333 | 7000 | 1 | 0 | 0 | 0 | 1133.3333 | 3543.8596 | -6.6613e-16 | 1 | 0 | 0 | 0 | 25 | 20 | 0 | 0 | 0 | 1 | 1 | 2008.49 | -1.3642e-12 | 0 | 0 | 0 | 1.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1
R2 | 21 | 6500 | 6800 | 20 | 0 | 0 | 0 | 5400 | 0 | 2266.6667 | 6800 | 1 | 0 | 0 | 0 | 3366.6667 | 0 | 0 | 1 | 0 | 0 | 0 | 20 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | -4.5475e-13 | 0 | 0 | 0 | 1.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1
R2 | 22 | 5800 | 6500 | 15 | 4009.8246 | 0 | 0 | 5000 | 0 | 2166.6667 | 6500 | 1 | 0 | 0 | 263.1579 | 0 | 250 | 1 | 0 | 780 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 2597.9653 | -9.0949e-13 | 0 | 0 | 0 | 1.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1
R2 | 23 | 5400 | 6300 | 15 | 8680 | 0 | 0 | 4600 | 0 | 2100 | 6300 | 1 | 0 | 0 | 5000 | 0 | 5000 | 1 | 0 | 780 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 5623.772 | 0 | 0 | 0 | 0 | 1.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1
R3 | 0 | 5200 | 6200 | 15 | 4226.6667 | 0 | 0 | 5040 | 0 | 2066.6667 | 6200 | 1 | 0 | 0 | 0 | 0 | 5000 | 1 | 0 | 2000 | 38.4615 | 23.4615 | 0 | 323.4615 | 0 | 0 | 0 | 1 | 1 | 2738.4573 | -4.5475e-13 | 0 | 1.4211e-14 | 0 | 1.2 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.2
R3 | 1 | 5000 | 6100 | 15 | 3633.3333 | 0 | 0 | 5400 | 0 | 2033.3333 | 6100 | 1 | 0 | 0 | 0 | 0 | 5000 | 1 | 0 | 2000 | 38.4615 | 23.4615 | 0 | 346.9231 | 0 | 0 | 0 | 1 | 1 | 2354.0367 | -1.1369e-12 | 0 | 0 | 0 | 1.2 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.2
R3 | 2 | 4800 | 6000 | 15 | 3303.1579 | 0 | 0 | 5760 | 0 | 2000 | 6000 | 1 | 0 | 0 | 263.1579 | 0 | 5250 | 1 | 0 | 2000 | 38.4615 | 23.4615 | 0 | 370.3846 | 0 | 0 | 0 | 1 | 1 | 2140.116 | -4.5475e-13 | 0 | 0 | 0 | 1.2 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.2
R3 | 3 | 4700 | 5900 | 15 | 7666.6667 | 0 | 0 | 6000 | 0 | 1966.6667 | 5900 | 1 | 0 | 0 | 5000 | 0 | 10000 | 1 | 0 | 2000 | 38.4615 | 23.4615 | 0 | 393.8462 | 0 | 0 | 0 | 1 | 1 | 4967.2333 | -9.0949e-13 | 0 | 0 | 0 | 1.2 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.2
R3 | 4 | 4800 | 5800 | 20 | 0 | 0 | 0 | 6240 | 0 | 1933.3333 | 5800 | 1 | 0 | 0 | 0 | 493.3333 | 9480.7018 | 0 | 1 | 0 | 0 | 0 | 20 | 373.8462 | 0 | 0 | 0 | 1 | 1 | 0 | -2.2737e-13 | 0 | 0 | 0 | 1.2 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.2
R3 | 5 | 5200 | 6000 | 25 | 0 | 192 | 0 | 6000 | 0 | 2000 | 6000 | 1 | 0 | 0 | 0 | 1008 | 8419.6491 | 0 | 1 | 0 | 0 | 0 | 25 | 348.8462 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1.2 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.2
R3 | 6 | 6200 | 6500 | 40 | 0 | 1152 | 0 | 5520 | 0 | 2166.6667 | 6500 | 1 | 0 | 0 | 0 | 2078.6667 | 6231.5789 | 0 | 1 | 384 | 7.3846 | 0 | 32.6154 | 316.2308 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1.2 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.2
R3 | 7 | 7000 | 7000 | 50 | 0 | 2880 | 0 | 4800 | 0 | 2333.3333 | 7000 | 1 | 0 | 0 | 0 | 3653.3333 | 2385.9649 | 0 | 1 | 2000 | 38.4615 | 0 | 11.5385 | 304.6923 | 0 | 0 | 0 | 1 | 1 | 0 | -1.3642e-12 | 0 | 0 | 0 | 1.2 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.2
R3 | 8 | 7600 | 6800 | 55 | 0 | 5280 | 0 | 4320 | 0 | 2266.6667 | 6800 | 1 | 0 | 0 | 0 | 2266.6667 | 0 | 0 | 1 | 2000 | 38.4615 | 0 | 16.5385 | 288.1538 | 0 | 0 | 0 | 1 | 1 | 0 | -4.5475e-13 | 0 | 0 | 0 | 1.2 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.2
R3 | 9 | 8100 | 6000 | 55 | 0 | 7200 | 0 | 3840 | 0 | 2000 | 6000 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 940 | 18.0769 | 0 | 36.9231 | 251.2308 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1.2 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.2
R3 | 10 | 8300 | 5200 | 45 | 0 | 8448 | 0 | 3600 | 0 | 1733.3333 | 5200 | 1 | 0 | 0 | 14.6667 | 0 | 13.9333 | 1 | 0 | 2000 | 38.4615 | 0 | 6.5385 | 244.6923 | 0 | 0 | 0 | 1 | 1 | 0 | 6.8212e-13 | 0 | 0 | 0 | 1.2 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.2
R3 | 11 | 8200 | 4800 | 35 | 0 | 9120 | 0 | 3360 | 0 | 1600 | 4800 | 1 | 0 | 0 | 680 | 0 | 659.9333 | 1 | 0 | 2000 | 38.4615 | 3.4615 | 0 | 248.1538 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1.2 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.2
R3 | 12 | 8000 | 4600 | 30 | 3990.3158 | 8640 | 0 | 3600 | 0 | 1533.3333 | 4600 | 1 | 0 | 0 | 4696.9825 | 0 | 5122.0667 | 1 | 0 | 2000 | 38.4615 | 8.4615 | 0 | 256.6154 | 0 | 0 | 0 | 1 | 1 | 2585.3256 | 9.0949e-13 | 0 | 0 | 0 | 1.2 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.2
R3 | 13 | 7900 | 4600 | 30 | 0 | 7488 | 0 | 4080 | 0 | 1533.3333 | 4600 | 1 | 0 | 0 | 134.6667 | 0 | 5250 | 1 | 0 | 2000 | 38.4615 | 8.4615 | 0 | 265.0769 | 0 | 0 | 0 | 1 | 1 | 0 | 9.0949e-13 | 0 | 0 | 0 | 1.2 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.2
R3 | 14 | 8000 | 4800 | 35 | 1472 | 5568 | 0 | 4560 | 0 | 1600 | 4800 | 1 | 0 | 0 | 0 | 0 | 5250 | 1 | 0 | 2000 | 38.4615 | 3.4615 | 0 | 268.5385 | 0 | 0 | 0 | 1 | 1 | 953.7088 | 0 | 0 | 0 | 0 | 1.2 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.2
R3 | 15 | 8300 | 5200 | 40 | 8633.3333 | 3360 | 0 | 5040 | 0 | 1733.3333 | 5200 | 1 | 0 | 0 | 5000 | 0 | 10000 | 1 | 0 | 2000 | 38.4615 | 0 | 1.5385 | 267 | 0 | 0 | 0 | 1 | 1 | 5593.5367 | 2.7285e-12 | 0 | 0 | 0 | 1.2 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.2
R3 | 16 | 8600 | 5700 | 50 | 4068 | 1152 | 0 | 5280 | 0 | 1900 | 5700 | 1 | 0 | 0 | 0 | 0 | 10000 | 1 | 0 | 0 | 0 | 0 | 50 | 217 | 0 | 0 | 0 | 1 | 1 | 2635.6572 | 0 | 0 | 0 | 0 | 1.2 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.2
R3 | 17 | 9000 | 6400 | 60 | 5301.3333 | 192 | 0 | 5640 | 0 | 2133.3333 | 6400 | 1 | 0 | 0 | 0 | 0 | 10000 | 1 | 0 | 0 | 0 | 0 | 60 | 157 | 0 | 0 | 0 | 1 | 1 | 3434.7339 | -1.3642e-12 | 0 | 0 | 0 | 1.2 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.2
R3 | 18 | 8800 | 7000 | 50 | 5133.3333 | 0 | 0 | 6000 | 0 | 2333.3333 | 7000 | 1 | 0 | 0 | 0 | 0 | 10000 | 1 | 0 | 0 | 0 | 0 | 50 | 107 | 0 | 0 | 0 | 1 | 1 | 3325.8867 | -1.3642e-12 | 0 | 0 | 0 | 1.2 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.2
R3 | 19 | 8200 | 7200 | 35 | 0 | 0 | 0 | 6240 | 0 | 2400 | 7200 | 1 | 0 | 0 | 0 | 4360 | 5410.5263 | 0 | 1 | 0 | 0 | 0 | 35 | 72 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1.2 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.2
R3 | 20 | 7400 | 7000 | 25 | 0 | 0 | 0 | 6600 | 0 | 2333.3333 | 7000 | 1 | 0 | 0 | 0 | 3133.3333 | 2112.2807 | 0 | 1 | 0 | 0 | 0 | 25 | 47 | 0 | 0 | 0 | 1 | 1 | 0 | -1.3642e-12 | 0 | 0 | 0 | 1.2 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.2
R3 | 21 | 6500 | 6800 | 20 | 280 | 0 | 0 | 6480 | 0 | 2266.6667 | 6800 | 1 | 0 | 0 | 0 | 2006.6667 | 0 | -9.3259e-15 | 1 | 0 | 0 | 0 | 20 | 27 | 0 | 0 | 0 | 1 | 1 | 181.412 | -4.5475e-13 | 0 | 0 | 0 | 1.2 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.2
R3 | 22 | 5800 | 6500 | 15 | 2229.8246 | 0 | 0 | 6000 | 0 | 2166.6667 | 6500 | 1 | 0 | 0 | 263.1579 | 0 | 250 | 1 | 0 | 0 | 0 | 0 | 15 | 12 | 0 | 0 | 0 | 1 | 1 | 1444.7033 | -9.6634e-13 | 0 | 0 | 0 | 1.2 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.2
R3 | 23 | 5400 | 6300 | 15 | 7136 | 0 | 0 | 5520 | 0 | 2100 | 6300 | 1 | 0 | 0 | 5000 | 0 | 5000 | 1 | 0 | 156 | 3 | 0 | 12 | 0 | 0 | 0 | 0 | 1 | 1 | 4623.4144 | 0 | 0 | 0 | 0 | 1.2 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.2
R4 | 0 | 5200 | 6200 | 15 | 966.6667 | 0 | 0 | 6300 | 0 | 2066.6667 | 6200 | 1 | 0 | 0 | 0 | 0 | 5000 | 1 | 0 | 0 | 0 | 0 | 15 | 285 | 0 | 0 | 0 | 1 | 1 | 626.3033 | -4.5475e-13 | 0 | 0 | 0 | 1.5 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.5
R4 | 1 | 5000 | 6100 | 15 | 283.3333 | 0 | 0 | 6750 | 0 | 2033.3333 | 6100 | 1 | 0 | 0 | 0 | 0 | 5000 | 1 | 0 | 0 | 0 | 0 | 15 | 270 | 0 | 0 | 0 | 1 | 1 | 183.5717 | -2.2737e-13 | 0 | 0 | 0 | 1.5 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.5
R4 | 2 | 4800 | 6000 | 15 | 483.3333 | 0 | 0 | 7200 | 0 | 2000 | 6000 | 1 | 0 | 0 | 0 | 56.6667 | 4940.3509 | 5.751e-14 | 1 | 940 | 18.0769 | 3.0769 | 0 | 273.0769 | 0 | 0 | 0 | 1 | 1 | 313.1517 | 0 | 0 | 0 | 0 | 1.5 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.5
R4 | 3 | 4700 | 5900 | 15 | 1166.6667 | 0 | 0 | 7500 | 0 | 1966.6667 | 5900 | 1 | 0 | 0 | 0 | 0 | 4940.3509 | 1 | 0 | 2000 | 38.4615 | 23.4615 | 0 | 296.5385 | 0 | 0 | 0 | 1 | 1 | 755.8833 | -6.8212e-13 | 0 | 1.4211e-14 | 0 | 1.5 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.5
R4 | 4 | 4800 | 5800 | 20 | 0 | 0 | 0 | 7800 | 0 | 1933.3333 | 5800 | 1 | 0 | 0 | 0 | 933.3333 | 3957.8947 | 0 | 1 | 2000 | 38.4615 | 18.4615 | 0 | 315 | 0 | 0 | 0 | 1 | 1 | 0 | -1.1369e-12 | 0 | 1.4211e-14 | 0 | 1.5 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.5
R4 | 5 | 5200 | 6000 | 25 | 0 | 240 | 0 | 7500 | 0 | 2000 | 6000 | 1 | 0 | 0 | 0 | 4.185e-13 | 3957.8947 | 1 | 0 | 540 | 10.3846 | 0 | 14.6154 | 300.3846 | 0 | 0 | 0 | 1 | 1 | 0 | -4.5475e-13 | 0 | -2.1316e-14 | 0 | 1.5 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.5
R4 | 6 | 6200 | 6500 | 40 | 0 | 1440 | 0 | 6900 | 0 | 2166.6667 | 6500 | 1 | 0 | 0 | 0 | 2026.6667 | 1824.5614 | 0 | 1 | 2000 | 38.4615 | 0 | 1.5385 | 298.8462 | 0 | 0 | 0 | 1 | 1 | 0 | -4.5475e-13 | 0 | 1.4211e-14 | 0 | 1.5 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.5
R4 | 7 | 7000 | 7000 | 50 | 0 | 3600 | 0 | 6000 | 0 | 2333.3333 | 7000 | 1 | 0 | 0 | 0 | 1733.3333 | 0 | 0 | 1 | 2000 | 38.4615 | 0 | 11.5385 | 287.3077 | 0 | 0 | 0 | 1 | 1 | 0 | -9.0949e-13 | 0 | 0 | 0 | 1.5 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.5
R4 | 8 | 7600 | 6800 | 55 | 0 | 6466.6667 | 133.3333 | 5400 | 0 | 2266.6667 | 6800 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2000 | 38.4615 | 0 | 16.5385 | 270.7692 | 0 | 0 | 0 | 1 | 1 | 0 | -4.5475e-13 | 0 | -4.2633e-14 | 0 | 1.5 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.5
R4 | 9 | 8100 | 6000 | 55 | 0 | 9000 | 0 | 4800 | 0 | 2000 | 6000 | 1 | 0 | 0 | 1700 | 0 | 1615 | 1 | 0 | 2000 | 38.4615 | 0 | 16.5385 | 254.2308 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 1.4211e-14 | 0 | 1.5 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.5
R4 | 10 | 8300 | 5200 | 45 | 0 | 7533.3333 | 3026.6667 | 4500 | 0 | 1733.3333 | 5200 | 1 | 0 | 0 | 0 | 0 | 1615 | 1 | 0 | 2000 | 38.4615 | 0 | 6.5385 | 247.6923 | 0 | 0 | 0 | 1 | 1 | 0 | 6.8212e-13 | 0 | 1.4211e-14 | 0 | 1.5 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.5
R4 | 11 | 8200 | 4800 | 35 | 0 | 11400 | 0 | 4200 | 0 | 1600 | 4800 | 1 | 0 | 0 | 3800 | 0 | 5225 | 1 | 0 | 2000 | 38.4615 | 3.4615 | 0 | 251.1538 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 1.4211e-14 | 0 | 1.5 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.5
R4 | 12 | 8000 | 4600 | 30 | 0 | 7972.9825 | 2827.0175 | 4500 | 0 | 1533.3333 | 4600 | 1 | 0 | 0 | 939.6491 | 0 | 6117.6667 | 1 | 0 | 2000 | 38.4615 | 8.4615 | 0 | 259.6154 | 0 | 0 | 0 | 1 | 1 | 0 | 1.5916e-12 | 0 | 1.4211e-14 | 0 | 1.5 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.5
R4 | 13 | 7900 | 4600 | 30 | 0 | 9360 | 0 | 5100 | 0 | 1533.3333 | 4600 | 1 | 0 | 0 | 3026.6667 | 0 | 8993 | 1 | 0 | 2000 | 38.4615 | 8.4615 | 0 | 268.0769 | 0 | 0 | 0 | 1 | 1 | 0 | 9.0949e-13 | 0 | 1.4211e-14 | 0 | 1.5 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.5
R4 | 14 | 8000 | 4800 | 35 | 0 | 6960 | 0 | 5700 | 0 | 1600 | 4800 | 1 | 0 | 0 | 1060 | 0 | 10000 | 1 | 0 | 2000 | 38.4615 | 3.4615 | 0 | 271.5385 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 1.4211e-14 | 0 | 1.5 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.5
R4 | 15 | 8300 | 5200 | 40 | 1533.3333 | 4200 | 0 | 6300 | 0 | 1733.3333 | 5200 | 1 | 0 | 0 | 0 | 0 | 10000 | 1 | 0 | 2000 | 38.4615 | 0 | 1.5385 | 270 | 0 | 0 | 0 | 1 | 1 | 993.4467 | 6.8212e-13 | 0 | 1.4211e-14 | 0 | 1.5 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.5
R4 | 16 | 8600 | 5700 | 50 | 2460 | 1440 | 0 | 6600 | 0 | 1900 | 5700 | 1 | 0 | 0 | 0 | 0 | 10000 | 1 | 0 | 0 | 0 | 0 | 50 | 220 | 0 | 0 | 0 | 1 | 1 | 1593.834 | 0 | 0 | 0 | 0 | 1.5 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.5
R4 | 17 | 9000 | 6400 | 60 | 3843.3333 | 240 | 0 | 7050 | 0 | 2133.3333 | 6400 | 1 | 0 | 0 | 0 | 0 | 10000 | 1 | 0 | 0 | 0 | 0 | 60 | 160 | 0 | 0 | 0 | 1 | 1 | 2490.0957 | -1.3642e-12 | 0 | 0 | 0 | 1.5 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.5
R4 | 18 | 8800 | 7000 | 50 | 0 | 0 | 0 | 7500 | 0 | 2333.3333 | 7000 | 1 | 0 | 0 | 0 | 3633.3333 | 6175.4386 | 0 | 1 | 0 | 0 | 0 | 50 | 110 | 0 | 0 | 0 | 1 | 1 | 0 | -1.3642e-12 | 0 | 0 | 0 | 1.5 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.5
R4 | 19 | 8200 | 7200 | 35 | 0 | 0 | 0 | 7800 | 0 | 2400 | 7200 | 1 | 0 | 0 | 0 | 2800 | 3228.0702 | 0 | 1 | 0 | 0 | 0 | 35 | 75 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1.5 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.5
R4 | 20 | 7400 | 7000 | 25 | 0 | 0 | 0 | 8250 | 0 | 2333.3333 | 7000 | 1 | 0 | 0 | 0 | 1483.3333 | 1666.6667 | 0 | 1 | 0 | 0 | 0 | 25 | 50 | 0 | 0 | 0 | 1 | 1 | 0 | -1.3642e-12 | 0 | 0 | 0 | 1.5 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.5
R4 | 21 | 6500 | 6800 | 20 | 0 | 0 | 0 | 8100 | 0 | 2266.6667 | 6800 | 1 | 0 | 0 | 0 | 666.6667 | 964.9123 | 0 | 1 | 0 | 0 | 0 | 20 | 30 | 0 | 0 | 0 | 1 | 1 | 0 | -4.5475e-13 | 0 | 0 | 0 | 1.5 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.5
R4 | 22 | 5800 | 6500 | 15 | 466.6667 | 0 | 0 | 7500 | 0 | 2166.6667 | 6500 | 1 | 0 | 0 | 0 | 0 | 964.9123 | 1 | 0 | 0 | 0 | 0 | 15 | 15 | 0 | 0 | 0 | 1 | 1 | 302.3533 | -4.5475e-13 | 0 | 0 | 0 | 1.5 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.5
R4 | 23 | 5400 | 6300 | 15 | 4847.4608 | 0 | 0 | 6900 | 0 | 2100 | 6300 | 1 | 0 | 0 | 4247.4608 | 0 | 5000 | 1 | 0 | 0 | 0 | 0 | 15 | 0 | 0 | 0 | 0 | 1 | 1 | 3140.6698 | 0 | 0 | 0 | 0 | 1.5 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 1.5
R5 | 0 | 5200 | 6200 | 15 | 0 | 0 | 0 | 8400 | 0 | 2066.6667 | 6200 | 1 | 0 | 0 | 0 | 866.6667 | 4087.7193 | 0 | 1 | 2000 | 38.4615 | 23.4615 | 0 | 323.4615 | 0 | 0 | 0 | 1 | 1 | 0 | -4.5475e-13 | 0 | 1.4211e-14 | 0 | 2.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 2
R5 | 1 | 5000 | 6100 | 15 | 0 | 0 | 0 | 9000 | 0 | 2033.3333 | 6100 | 1 | 0 | 0 | 0 | 33.3333 | 4052.6316 | 0 | 1 | 2000 | 38.4615 | 23.4615 | 0 | 346.9231 | 0 | 0 | 0 | 1 | 1 | 0 | -1.1369e-12 | 0 | 0 | 0 | 2.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 2
R5 | 2 | 4800 | 6000 | 15 | 0 | 0 | 0 | 8800 | 800 | 2000 | 6000 | 1 | 0 | 0 | 0 | 0 | 4052.6316 | 1 | 0 | 2000 | 38.4615 | 23.4615 | 0 | 370.3846 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 2.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 2
R5 | 3 | 4700 | 5900 | 15 | 0 | 0 | 0 | 8666.6667 | 1333.3333 | 1966.6667 | 5900 | 1 | 0 | 0 | 0 | 0 | 4052.6316 | 1 | 0 | 2000 | 38.4615 | 23.4615 | 0 | 393.8462 | 0 | 0 | 0 | 1 | 1 | 0 | -6.8212e-13 | 0 | 0 | 0 | 2.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 2
R5 | 4 | 4800 | 5800 | 20 | 0 | 0 | 0 | 8733.3333 | 1666.6667 | 1933.3333 | 5800 | 1 | 0 | 0 | 0 | 0 | 4052.6316 | 1 | 0 | 2000 | 38.4615 | 18.4615 | 0 | 412.3077 | 0 | 0 | 0 | 1 | 1 | 0 | -1.1369e-12 | 0 | 0 | 0 | 2.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 2
R5 | 5 | 5200 | 6000 | 25 | 0 | 0 | 320 | 9200 | 800 | 2000 | 6000 | 1 | 0 | 0 | 0 | 0 | 4052.6316 | 1 | 0 | 2000 | 38.4615 | 13.4615 | 0 | 425.7692 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 2.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 2
R5 | 6 | 6200 | 6500 | 40 | 0 | 1166.6667 | 753.3333 | 9200 | 0 | 2166.6667 | 6500 | 1 | 0 | 0 | 0 | 0 | 4052.6316 | 1 | 0 | 2000 | 38.4615 | 0 | 1.5385 | 424.2308 | 0 | 0 | 0 | 1 | 1 | 0 | -4.5475e-13 | 0 | 0 | 0 | 2.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 2
R5 | 7 | 7000 | 7000 | 50 | 0 | 3333.3333 | 1466.6667 | 8000 | 0 | 2333.3333 | 7000 | 1 | 0 | 0 | 0 | 0 | 4052.6316 | 1 | 0 | 2000 | 38.4615 | 0 | 11.5385 | 412.6923 | 0 | 0 | 0 | 1 | 1 | 0 | -1.3642e-12 | 0 | 0 | 0 | 2.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 2
R5 | 8 | 7600 | 6800 | 55 | 0 | 4666.6667 | 4133.3333 | 7200 | 0 | 2266.6667 | 6800 | 1 | 0 | 0 | 0 | 0 | 4052.6316 | 1 | 0 | 2000 | 38.4615 | 0 | 16.5385 | 396.1538 | 0 | 0 | 0 | 1 | 1 | 0 | -4.5475e-13 | 0 | 0 | 0 | 2.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 2
R5 | 9 | 8100 | 6000 | 55 | 0 | 5700 | 6300 | 6400 | 0 | 2000 | 6000 | 1 | 0 | 0 | 0 | 0 | 4052.6316 | 1 | 0 | 2000 | 38.4615 | 0 | 16.5385 | 379.6154 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 2.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 2
R5 | 10 | 8300 | 5200 | 45 | 0 | 6033.3333 | 8046.6667 | 6000 | 0 | 1733.3333 | 5200 | 1 | 0 | 0 | 0 | 0 | 4052.6316 | 1 | 0 | 2000 | 38.4615 | 0 | 6.5385 | 373.0769 | 0 | 0 | 0 | 1 | 1 | 0 | 6.8212e-13 | 0 | 0 | 0 | 2.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 2
R5 | 11 | 8200 | 4800 | 35 | 0 | 6200 | 9000 | 5600 | 0 | 1600 | 4800 | 1 | 0 | 0 | 0 | 0 | 4052.6316 | 1 | 0 | 2000 | 38.4615 | 3.4615 | 0 | 376.5385 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 2.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 2
R5 | 12 | 8000 | 4600 | 30 | 0 | 5533.3333 | 8866.6667 | 6000 | 0 | 1533.3333 | 4600 | 1 | 0 | 0 | 0 | 0 | 4052.6316 | 1 | 0 | 2000 | 38.4615 | 8.4615 | 0 | 385 | 0 | 0 | 0 | 1 | 1 | 0 | 6.8212e-13 | 0 | 0 | 0 | 2.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 2
R5 | 13 | 7900 | 4600 | 30 | 0 | 4633.3333 | 7846.6667 | 6800 | 0 | 1533.3333 | 4600 | 1 | 0 | 0 | 0 | 0 | 4052.6316 | 1 | 0 | 2000 | 38.4615 | 8.4615 | 0 | 393.4615 | 0 | 0 | 0 | 1 | 1 | 0 | 6.8212e-13 | 0 | 0 | 0 | 2.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 2
R5 | 14 | 8000 | 4800 | 35 | 0 | 8293.7211 | 986.2789 | 7600 | 0 | 1600 | 4800 | 1 | 0 | 0 | 4293.7211 | 0 | 8131.6667 | 1 | 0 | 2000 | 38.4615 | 3.4615 | 0 | 396.9231 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 2.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 2
R5 | 15 | 8300 | 5200 | 40 | 0 | 5600 | 0 | 8400 | 0 | 1733.3333 | 5200 | 1 | 0 | 0 | 1966.6667 | 0 | 10000 | 1 | 0 | 2000 | 38.4615 | 0 | 1.5385 | 395.3846 | 0 | 0 | 0 | 1 | 1 | 0 | 9.0949e-13 | 0 | 0 | 0 | 2.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 2
R5 | 16 | 8600 | 5700 | 50 | 0 | 1920 | 0 | 8800 | 0 | 1900 | 5700 | 1 | 0 | 0 | 0 | 0 | 10000 | 1 | 0 | 220 | 4.2308 | 0 | 45.7692 | 349.6154 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 2.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 2
R5 | 17 | 9000 | 6400 | 60 | 0 | 320 | 0 | 9400 | 0 | 2133.3333 | 6400 | 1 | 0 | 0 | 0 | 1413.3333 | 8512.2807 | 0 | 1 | 0 | 0 | 0 | 60 | 289.6154 | 0 | 0 | 0 | 1 | 1 | 0 | -1.3642e-12 | 0 | 0 | 0 | 2.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 2
R5 | 18 | 8800 | 7000 | 50 | 0 | 0 | 0 | 10000 | 0 | 2333.3333 | 7000 | 1 | 0 | 0 | 0 | 3133.3333 | 5214.0351 | 0 | 1 | 2000 | 38.4615 | 0 | 11.5385 | 278.0769 | 0 | 0 | 0 | 1 | 1 | 0 | -1.3642e-12 | 0 | 0 | 0 | 2.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 2
R5 | 19 | 8200 | 7200 | 35 | 0 | 0 | 0 | 10400 | 0 | 2400 | 7200 | 1 | 0 | 0 | 0 | 263.5 | 4936.6667 | 0 | 1 | 63.5 | 1.2212 | 0 | 33.7788 | 244.2981 | 0 | 0 | 0 | 1 | 1 | 0 | 5.6843e-14 | 0 | 0 | 0 | 2.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 2
R5 | 20 | 7400 | 7000 | 25 | 0 | 0 | 0 | 11000 | 0 | 2333.3333 | 7000 | 1 | 0 | 0 | 0 | 0 | 4936.6667 | 1 | 0 | 1266.6667 | 24.359 | 0 | 0.64103 | 243.6571 | 0 | 0 | 0 | 1 | 1 | 0 | -1.3642e-12 | 0 | 0 | 0 | 2.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 2
R5 | 21 | 6500 | 6800 | 20 | 0 | 0 | 0 | 10800 | 0 | 2266.6667 | 6800 | 1 | 0 | 0 | 33.3333 | 0 | 4968.3333 | 1 | 0 | 2000 | 38.4615 | 18.4615 | 0 | 262.1186 | 0 | 0 | 0 | 1 | 1 | 0 | -4.5475e-13 | 0 | 0 | 0 | 2.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 2
R5 | 22 | 5800 | 6500 | 15 | 0 | 0 | 0 | 10000 | 0 | 2166.6667 | 6500 | 1 | 0 | 0 | 33.3333 | 0 | 5000 | 1 | 0 | 2000 | 38.4615 | 23.4615 | 0 | 285.5801 | 0 | 0 | 0 | 1 | 1 | 0 | -4.5475e-13 | 0 | 0 | 0 | 2.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 2
R5 | 23 | 5400 | 6300 | 15 | 0 | 0 | 0 | 9200 | 0 | 2100 | 6300 | 1 | 0 | 0 | 0 | 0 | 5000 | 1 | 0 | 1700 | 32.6923 | 17.6923 | 0 | 303.2724 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 2.0 倍 | renewable_scale_sensitivity | 新能源出力比例敏感性 | S5 | 风光可发功率倍率 | 2