## Sheet1
typical_day_id | typical_day_name | weight_days | scenario_id | status | total_cost_cny | grid_cost_cny | gas_cost_cny | curtailment_cost_cny | carbon_cost_cny | battery_om_cost_cny | electrolyzer_om_cost_cny | h2_external_supply_cost_cny | h2_sale_revenue_cny | fuel_cell_om_cost_cny | carbon_cap_excess_cost_cny | grid_purchase_kwh | renewable_available_kwh | renewable_used_kwh | renewable_consumption_rate | renewable_min_consumption_rate | renewable_curtailment_kwh | gas_consumption_m3 | heat_pump_heat_kwh | gas_boiler_heat_kwh | carbon_emission_kg | battery_charge_kwh | battery_discharge_kwh | battery_soc_min_kwh | battery_soc_max_kwh | battery_terminal_delta_kwh | hydrogen_load_kg | electrolyzer_power_kwh | h2_production_kg | h2_external_supply_kg | h2_sale_kg | h2_fuel_cell_kg | fuel_cell_generation_kwh | h2_storage_min_kg | h2_storage_max_kg | max_power_balance_residual_kw | max_heat_balance_residual_kw | max_hydrogen_balance_residual_kg | max_fuel_cell_conversion_residual_kw | carbon_emission_cap_kg | carbon_cap_excess_kg | weighted_total_cost_cny | weighted_grid_cost_cny | weighted_gas_cost_cny | weighted_carbon_cost_cny | weighted_grid_purchase_kwh | weighted_renewable_available_kwh | weighted_renewable_used_kwh | weighted_renewable_curtailment_kwh | weighted_carbon_emission_kg | weighted_h2_production_kg | weighted_h2_external_supply_kg | weighted_fuel_cell_generation_kwh | weighted_heat_pump_heat_kwh | weighted_gas_boiler_heat_kwh | weighted_battery_charge_kwh | weighted_battery_discharge_kwh
TD_SUMMER | 夏季典型日 | 120 | S5 | optimal | 51252.8068 | 46455.6854 | 0 | -3.1832e-13 | 3906.5951 | 400.5263 | 490 | 0 | 0 | 0 | 0 | 96628.6316 | 151834 | 151834 | 1 | 0 | -3.1832e-12 | 0 | 86640 | 0 | 62605.6904 | 21052.6316 | 19000 | 0 | 10000 | 0 | 790 | 25480 | 490 | 0 | 0 | 0 | 0 | 0 | 393.8462 | 2.16e-12 | 0 | 1.4211e-14 | 0 | 1000000000000 | 0 | 6150336.8143 | 5574682.2467 | 0 | 468791.4097 | 11595435.7895 | 18220080 | 18220080 | -3.8199e-10 | 7512682.848 | 58800 | 0 | 0 | 10396800 | 0 | 2526315.7895 | 2280000
TD_WINTER | 冬季典型日 | 120 | S5 | optimal | 57808.5795 | 51547.3181 | 808.5626 | -2.2737e-14 | 4562.1726 | 400.5263 | 490 | 0 | 0 | 0 | 0 | 111945.6316 | 155107 | 155107 | 1 | 0 | -2.2737e-13 | 269.5209 | 192510 | 2430 | 73111.7397 | 21052.6316 | 19000 | 0 | 10000 | 0 | 790 | 25480 | 490 | 0 | 0 | 0 | 0 | 0 | 393.8462 | 1.3642e-12 | 0 | 2.8422e-14 | 0 | 1000000000000 | 0 | 6937029.5425 | 6185678.1707 | 97027.5067 | 547460.7072 | 13433475.7895 | 18612840 | 18612840 | -2.7285e-11 | 8773408.7688 | 58800 | 0 | 0 | 23101200 | 291600 | 2526315.7895 | 2280000
TD_TRANSITION | 过渡季典型日 | 125 | S5 | optimal | 40631.1958 | 36377.2779 | 0 | 0 | 3363.3916 | 400.5263 | 490 | 0 | 0 | 0 | 0 | 83192.6316 | 154660 | 154660 | 1 | 0 | 0 | 0 | 129960 | 0 | 53900.506 | 21052.6316 | 19000 | 0 | 10000 | 0 | 790 | 25480 | 490 | 0 | 0 | 0 | 0 | 0 | 393.8462 | 1.3642e-12 | 0 | 1.4211e-14 | 0 | 1000000000000 | 0 | 5078899.4731 | 4547159.7368 | 0 | 420423.9468 | 10399078.9474 | 19332500 | 19332500 | 0 | 6737563.25 | 61250 | 0 | 0 | 16245000 | 0 | 2631578.9474 | 2375000